## Advantech
SIR.tel. Srl - Via Molino di Sopra 55A 37054 Nogara (VR) - sales@sirtel.it - www.sirtel.it
Listino Advantech n. 69 Q4 Ottobre 2024
Codice | Descrizione | Listino
Smart I/O & Communication
ADAM-3013-AE | Isolated RTD-input Module | 273
ADAM-3112-AE | Isolated AC Voltage Input Module | 273
ADAM-3114-AE | Isolated AC Current Input Module | 325
ADAM-3014-AE | Isolated DC I/O Module | 201
ADAM-3017-AE | External Powered IEPE Signal Conditioner | 198
PCLD-8712-AE | Wiring Terminal for PCI-1712, DIN-rail Mount | 283
PCLD-885-AE | 16-ch Power Relay Output Terminal | 185
PCI-1737U-AE | 24ch TTL Digital I/O Card | 302
PCLD-782B-AE | 16/24-ch Opto-isolated DI Board | 137
PCLD-8710-AE | SCSI-68 Wiring Terminal w/CJC, DIN-rail Mount | 252
PCLD-8761-AE | 24/24-ch Relay Output/Isolated DI Board | 119
PCLD-8810E-AE | Screw terminal board with CJC for PCIE-18 Series | 529
PCLD-8811-AE | Active filter board | 232
PCLD-8751-AE | 48-ch Opto-isolated DI Board | 155
PCLD-881B-AE | Wiring Terminal Board for PCI-1713 & PCL-813L | 428
PCLD-8840-AE | 20-pin DIN-rail HDMI Cable Wiring Board | 131
PCL-836-BE | 6-ch Counter/timer Card | 92
PCLD-785B-AE | 24-ch Relay Output Terminal | 361
PCLD-8762-AE | 48-ch relay output wiring board | 317
PCLD-880-AE | DB-37 Wiring Terminal | 770
PCL-108BNC-50E | 50 cm, Mini-SCSI to 8-BNC Cable | 131
PCLD-785-AE | 16-ch Relay Output Terminal | 136
PCLD-782-BE | Opto-Isolated D/I Board | 252
PCLD-788-AE | Relay Scanner/multiplexer Board (CE) | 214
PCLD-8115-AE | DB-37 Wiring Terminal w/CJC Circuit | 361
Industrial Wireless & Sensing
WISE-4250AS-A | WISE-4250AS for Azure Sphere | 303
WISE-4610P-EA | Advanced Industrial LoRa Wireless I/O Module | 655
WISE-4671-UA | Outdoor Cat. NB1/Cat. M1 Wireless Sensor Module | 664
WISE-S615-A | WISE-4600 RTD Module | 381
WISE-2211-NA | LPWAN Self powered Sensor module(for Transmitter | 232
WISE-2410X-A02NA | Explosion Proof LoRaWAN Smart Vibration Sensor | 868
WISE-2460-MA | Smart Vibration Sensor(10Khz, wRS-485) | 757
WISE-4012-AE | 4-ch UI and 2-ch DO IoT Wireless I/O Module | 262
WISE-4012E-AE-WA | WISE-4012E IoT Developer Kit with WebAccess | 231
WISE-4050-B | 4-ch DI and 4-ch DO IoT Wireless I/O Module | 216
WISE-4060LAN-B | 4-ch DI and 4-ch Relay IoT Ethernet I/O Module | 251
WISE-4210-APNA | LPWAN IoT WSN Access Point | 349
WISE-4210-S251NA | LPWAN IoT WSN with 6DI & RS-485 | 327
WISE-4250AS-S231A | WISE-4250AS-S231 for Azure Sphere | 377
WISE-4471-UA | Cat. NB1/Cat. M1 Wireless Sensor Module | 390
WISE-4610-NA | Outdoor LoRa Wireless Sensor Module | 407
WISE-S250-A | WISE-4200/WISE-4400 6DI/2DO/1RS-485 I/O Module | 125
WISE-4051-AE | 8-ch DI IoT Wireless I/O Module with RS-485 Port | 228
WISE-4060-B | 4-ch DI and 4-ch Relay IoT Wireless I/O Module | 229
WISE-4210-NA | LPWAN SUB-1G Wireless Sensor Module | 234
WISE-4010LAN-B | 4-ch CI 4-ch DO IoT Ethernet I/O Module | 237
WISE-4250-A | Wi-Fi 802.11a/b/g/n/ac 2.4/5G IO module | 244
WISE-4610-EA | Outdoor LoRa Wireless Sensor Module | 358
WISE-2410X-A02EA | Explosion Proof LoRaWAN Smart Vibration Sensor | 717
WISE-S100-A | Intelligent Stack Light Monitoring Sensor | 176
WISE-S214-A | WISE-4200/WISE-4400 4AI/4DI I/O Module | 195
WISE-S472-A | WISE-4400 1DI/2RS-485 I/O Module | 199
WISE-S617-A | WISE-4600 2AI/2DI/1DO/1RS-485 I/O Module | 355
WISE-2210-NA | LPWAN Self powered Sensor module(for CT) | 232
WISE-4220-A | WiFi 2.4G Wireless Sensor Module | 203
WISE-4220-S231A | IoT WSN with Temperature & Humidity Sensor | 284
WISE-4610P-NA | Advanced Industrial LoRa Wireless I/O Module | 701
WISE-S251-A | WISE-4200/WISE-4400 6DI/1RS-485 I/O Module | 83
WISE-S614-A | WISE-4600 4AI/4DI I/O Module | 318
WISE-S614T-A | WISE-4600 4AI/4DI I/O Module/Terminal Block | 250
WISE-S615T-A | WISE-4600 RTD Module/Terminal Block | 308
WISE-2410-MTB01 | Metal Base for WISE-2410 | 17
WISE-S672-A | WISE-4600 6DI/1RS-485/1RS-485 or RS-232 I/O Modu | 201
WISE-2410X-E21NA | Explosion Proof LoRaWAN Smart Vibration Sensor | 870
WISE-4210-S231NA | LPWAN IoT WSN Temp & RH Sensor | 312
WISE-2410-NA | Smart Vibration Sensor | 520
WISE-4051-B | 8-ch DI IoT Wireless I/O Module with RS-485 Port | 278
iSensing Devices
ADAM-4015-F | 6-Ch RTD Module w/ Modbus | 436
ADAM-4080-E | Counter/Frequency Module | 233
ADAM-4019+-F | 8-Channel Universal Analog Input Module | 499
ADAM-4022T-AE | Serial Based Dual Loop PID Controller | 432
ADAM-4024-B1E | 4-Ch AO Module w/ Modbus | 354
ADAM-4117-B | 8-Ch AI Module | 346
ADAM-4118-B | 8-Ch Thermocouple Input Module | 369
ADAM-4150-AE | 15-Ch DI/O Module | 167
ADAM-4168-AE | 8-Ch Relay Output Module | 193
ADAM-4510S-EE | RS-422/RS-485 Repeater with Isolation | 187
ADAM-4520I-AE | Wide-Temp RS-232 to RS-422/485 Converter | 160
ADAM-5051S-AE | 16-Ch Isolated DI Module w/ LED | 112
ADAM-5069-AE | 8-Ch Power Relay Output Module w/ LED | 125
ADAM-5091-BE | 4 Port RS232/RS422/R485 Module w/Share Interrupt | 344
ADAM-6156EI-AE | 16-ch Isolated DO EtherNet/IP Module | 417
ADAM-6224-AE | 4-ch Isolated Analog Output Modbus TCP Module | 457
ADAM-4015-CE | 6-Ch RTD Module w/ Modbus | 395
ADAM-4017+-CE | 8-Ch AI Module w/ Modbus | 345
ADAM-4052-BE | Isolated Digital Input Module | 134
ADAM-4055-BE | 16-Ch Isolated DI/DO Module w/ LED & Modbus | 172
ADAM-4520A-A | Robust RS-232 to RS-422/485 Isolated Converter | 114
ADAM-5017H-BE | 8-channel High-speed Analog Input Module | 312
ADAM-5055S-AE | 16-Ch Isolated DI/O Module w/ LED | 137
ADAM-5056SO-AE | 16-Ch Source Type Isolated DO Module w/ LED | 132
ADAM-6117EI-AE | 8-ch Isolated AI EtherNet/IP Module | 632
ADAM-6160EI-AE | 6-ch Relay EtherNet/IP Module | 454
ADAM-6260-AE | 6-ch Relay Output Modbus TCP Module | 284
ADAM-6366-A1 | OPC UA and Security Remote I/O_Relay Module | 505
ADAM-4068-C | 8-Ch Relay Output Module w/ Modbus | 211
ADAM-4510-DE | RS-422/485 repeater Rev.DE | 113
ADAM-5050-A2E | 16-Ch Universal DI/O Module | 112
ADAM-5056-AE | 16-Ch DO Module | 93
ADAM-5081-AE | 4-ch High Speed Counter/Frequency Module | 442
ADAM-6360D-A1 | OPC UA and Security Remote I/O_SSR Relay Module | 510
ADAM-5013-A2E | 3-Ch RTD Input Module | 268
ADAM-5053S-AE | 32-ch Digital Input Module | 181
ADAM-5560KW-AE | 7-slot PAC with KW | 1455
ADAM-6217-B | 8-ch Isolated Analog Input Modbus TCP Module | 429
ADAM-4017-D2E | 8-Ch AI Module | 237
ADAM-4021-DE | AO Module | 222
ADAM-4056SO-AE | 12-Ch Source Type Isolated DO Module w/ Modbus | 182
ADAM-4118-AE | 8-Ch Thermocouple Input Module | 334
ADAM-4150-B | 15-Ch DI/O Module | 184
ADAM-4542+-AE | Fiber Optic to RS-232/422/485 Converter Rev.AE | 504
ADAM-5018-A2E | 7-Ch Thermocouple Input Module | 256
ADAM-5018P-AE | 7-ch Thermocouple Input Module with Independent | 344
ADAM-5052-AE | 8-Ch Isolated DI Module | 93
ADAM-6017-CE | 8-Ch AI/DO Module | 389
ADAM-6018+-D | 8-ch Isolated Thermocouple Input Module | 510
ADAM-6117PN-AE | 8-ch Isolated AI PROFINET Module | 547
ADAM-4018+-E | 8-Ch Thermocouple Input Module w/ Modbus | 422
ADAM-4056S-AE | 12-Ch Sink Type Isolated DO Module w/ Modbus | 153
ADAM-4115-C | Robust 6-Ch RTD Input Module | 466
ADAM-4168-B | 8-Ch Relay Output Module | 213
ADAM-4168-C | 8-Ch Relay Output Module | 213
ADAM-4510-F | RS-422/485 Repeater | 144
ADAM-4520-EE | RS-232 to RS-422/485 converter w/ iso. Rev. EE | 103
ADAM-4521-AE | Addressable RS-422/485 to RS-232 Converter | 249
ADAM-5017UH-A1E | 8-channel Ultrahigh Speed Analog Input Module | 364
ADAM-5056S-AE | 16-Ch Sink Type Isolated DO Module w/ LED | 132
ADAM-5060-AE | 6-Ch Relay Output Module | 116
ADAM-5080-BE | 4-Ch Counter/Frequency Module | 351
ADAM-4021-F | 1-ch AO Module w/ Modbus | 233
ADAM-4050-F | 16-Ch DI/O Module w/ Modbus | 136
ADAM-4051-BE | 16-Ch Isolated DI Module w/ LED & Modbus | 172
ADAM-4053-AE | 16-Ch Isolated DI Module | 153
ADAM-4068-BE | 8-Ch Relay Output Module w/ Modbus | 201
ADAM-4150-C | 15-Ch DI/O Module | 194
ADAM-4510I-AE | Wide-Temp RS-422/RS-485 Repeater | 227
ADAM-4510S-F | RS-422/RS-485 Repeater with Isolation | 197
ADAM-5630-AE | 4-slot Edge Intelligent DAQ controller | 932
ADAM-6022-A1E | Ethernet-based Dual-loop PID Controller | 580
ADAM-6024-A1E | 12-ch Isolated Universal I/O Module | 592
ADAM-6052-D | 16-Ch Source Type DI/O Module | 282
ADAM-6150PN-AE | 15-ch Isolated DI/O PROFINET Module | 360
ADAM-4562-AE | 1 port isolated USB to RS232 converter module | 128
ADAM-5051-AE | 16-channel Digital Input Module with RoHS | 93
ADAM-5057S-AE | 32-ch Digital Output Module | 165
ADAM-5101P-AE | MiniPCIE Slot Extension | 128
ADAM-6124PN-AE | 4-ch Isolated AO PROFINET Module | 493
ADAM-6317-A1 | OPC UA and Security Remote I/O_AI Module | 580
ADAM-6350-A1 | OPC UA and Security Remote I/O_DI/O Module | 495
ADAM-4018-D2E | 8-Ch Thermocouple Input Module | 241
ADAM-4053-F | 16-Ch Isolated DI Module w/ Modbus | 160
ADAM-4060-F | 4-Ch Relay Output Module w/ Modbus | 174
ADAM-4069-B | 8-Ch Power Relay Output Module w/ Modbus | 271
ADAM-4510-EE | RS-422/485 Repeater | 137
ADAM-4541-BE | Fiber Optic To RS-232/422/485 Converter | 300
ADAM-5017P-AE | 8-ch Analog Input Module with Independent Input | 273
ADAM-5051D-AE | 16-Ch DI Module w/ LED | 60
ADAM-5550CE-BE | 8-slot PAC | 1122
ADAM-5630E-AE | 8-slot Edge Intelligent DAQ controller | 939
ADAM-6051-CE | 16-Ch Isolated DI/O w/Counter Module | 231
ADAM-6150EI-AE | 15-ch Isolated DI/O EtherNet/IP Module | 416
ADAM-6151EI-AE | 16-ch Isolated DI EtherNet/IP Module | 416
ADAM-6266-B | 4-ch Relay Output Modbus TCP Module with 4-ch DI | 313
PCL-10220-1E | 40-pin IDC to two 20-pin IDC cable, 1m | 30
PWR-243-AE | 72 Watts Panel Mount Power Supply | 182
PCLS-OPC/ADM30-AE | Advantech ADAM Protocol for OPC Server | 143
PCLS-OPC/MTP30-AE | Advantech Modbus/TCP for OPC Server | 143
PWR-244-AE | 100 Watts Panel Mount Power Supply | 205
PCLS-OPC/RTU30-AE | Advantech Modbus/RTU for OPC Server | 143
PWR-242-AE | 50 Watts DIN-rail Power Supply | 221