## Project Model
Series | Form Factor | P/N | Model | Description | Status | MSRP(Euro)
V-SERIES | LPC | VIO100B08600 | IP-CAMERA IB9387-LPR-V2 NL | Embedded LPR+ Bullet Camera, Black/White list, Wiegandoutput, 5MP, 30fps, H.265/H.264/MJPEG, f1.6 ~ 13.5 MotorizedLens, P-iris, D/N | Available | 1803
V-SERIES | LPC | VIO100B08700 | IP-CAMERA IB9387-LPR-V2-W NL | Embedded LPR+ Bullet Camera, Black/White list, Wiegandoutput, 5MP, 30fps, H.265/H.264/MJPEG, f1.6 ~ 13.5 MotorizedLens, P-iris, D/N | Available | 1803
SUPREME | LPC | VIO100253700 | IP-CAMERA IP9165-LPC-V2 NO LENS | License plate capture, Box Camera, 2M 60fps, H.265/H.264/MJPEG, w/olens, i-CS supported, remote back focus, D/N, SNVII, WDR PRO II, 3DNR,Smart stream III, PoE/DC12V/AC24V, I/O 2*2, RS485, 2way audio | Available | 670
SUPREME | LPC | VIO100253800 | IP-CAMERA IP9165-LPC-V2 12-40 | License plate capture, Box Camera, 2M 60fps, H.265/H.264/MJPEG, f12-40mm, P-Iris, remote back focus, D/N, SNVII, WDR PRO II, 3DNR, Smartstream III, PoE/DC12V/AC24V, I/O 2*2, RS485, 2way audio | Available | 890
SUPREME | LPC | VIO100254100 | IP-CAMERA IP9165-LPC-V2 9-50 ICS | License plate capture, Box Camera, 2M 60fps, H.265/H.264/MJPEG, f9-50mm, ICS, remote back focus, D/N, SNVII, WDR PRO II, 3DNR, Smartstream III, PoE/DC12V/AC24V, I/O 2*2, RS485, 2way audio | Available | 1353
SUPREME | LPC | VIO100273800 | IP-CAMERA IP9165-LPR-V2 9-50 ICS | License Plate Recognition, 60mph(90kmph), Box Camera, 2M 60fps,H.265/H.264/MJPEG, f9-50mm, ICS, remote back focus, D/N, SNVII, WDR PROII, 3DNR, Smart stream III, PoE/DC12V/AC24V, I/O 2*2, RS485, 2way audio | Available | 2318
SUPREME | LPC | VIO100273900 | IP-CAMERA IP9165-LPR-V2 12-40 | License Plate Recognition, 60mph(90kmph), Box Camera, 2M 60fps,H.265/H.264/MJPEG, f12-40mm, P-iris, remote back focus, D/N, SNVII, WDRPRO II, 3DNR, Smart stream III, PoE/DC12V/AC24V, I/O 2*2, RS485, 2wayAudio | Available | 1933
SUPREME | LPC | VIO100274000 | IP-CAMERA IP9165-LPR-V2 NO LENS | License Plate Recognition, 60mph(90kmph), Box Camera, 2M 60fps,H.265/H.264/MJPEG, Non Lens, P/DC iris, i-CS reserved, remote backfocus, D/N, SNVII, WDR PRO II, 3DNR, Smart stream III, PoE/DC12V/AC24V,I/O 2*2, RS485, 2way audio | Available | 1623
SUPREME | LPC | VIO100B07000 | IP-CAMERA IP9191-LPC-V2 9-50 | License plate capture, NDAA Box Camera, 8M 30fps / 2MP 60fps,H.265/H.264/MJPEG, f9-50mm, i-CS, remote back focus, D/N, SNV, WDR PRO,3DNR, PoE/DC12V/AC24V, I/O 2*2, BNC, RS485, 2way audio | Available | 1545
SUPREME | LPC | VIO100B07100 | IP-CAMERA IP9191-LPC-V2 NO LENS | License plate capture, NDAA Box Camera, 8M 30fps / 2MP 60fps,H.265/H.264/MJPEG, i-CS/P-iris/DC-iris, remote back focus, D/N, SNV, WDRPRO, 3DNR, PoE/DC12V/AC24V, I/O 2*2, BNC, RS485, 2way audio | Available | 980
Value | LPC | VIO100B07400 | IP-CAMERA IP9181-LPC-V2 9-50 | License plate capture, NDAA Box Camera, 5M 30fps, H.265/H.264/MJPEG,f9-50mm, i-CS, remote back focus, D/N, SNV, WDR PRO, 3DNR,PoE/DC12V/AC24V, I/O 2*2, BNC, RS485, 2way audio | Available | 1418
Value | LPC | VIO100B07500 | IP-CAMERA IP9181-LPC-V2 NO LENS | License plate capture, NDAA Box Camera, 5M 30fps, H.265/H.264/MJPEG, i-CS/P-iris/DC-iris, remote back focus, D/N, SNV, WDR PRO, 3DNR,PoE/DC12V/AC24V, I/O 2*2, BNC, RS485, 2way audio | Available | 773
SUPREME | Stereo Camera | VIO100B03300 | IP-CAMERA SC9133-RTL | New People Counting for retail | Available | 1689
SUPREME | Thermal | VIO100198300 | IP-CAMERA TB9330-E 19 | Outdoor Bullet, 384x256 Thermal, 8.8, 19, 35 and 50mm Fixed-focal Lens (Optional), NETD< 50, PoE/DC12V/AC24V, I/O 1/1, Two-way Audio, SD/SDHC/SDXC,IP66/IP67/IK10 (Metal Housing), NEMA 4X, Extreme Weather (-50°C ~ 60°C/-58°F ~ 140°F) | EOS | 4118
SUPREME | Thermal | VIO100198400 | IP-CAMERA TB9330-E 8.8 | Outdoor Bullet, 384x256 Thermal, 8.8, 19, 35 and 50mm Fixed-focal Lens (Optional), NETD< 50, PoE/DC12V/AC24V, I/O 1/1, Two-way Audio, SD/SDHC/SDXC,IP66/IP67/IK10 (Metal Housing), NEMA 4X, Extreme Weather (-50°C ~ 60°C/-58°F ~ 140°F) | EOS | 4118
SUPREME | Thermal | VIO100202900 | IP-CAMERA TB9330-E 35 | Outdoor Bullet, 384x256 Thermal, 8.8, 19, 35 and 50mm Fixed-focal Lens (Optional), NETD< 50, PoE/DC12V/AC24V, I/O 1/1, Two-way Audio, SD/SDHC/SDXC,IP66/IP67/IK10 (Metal Housing), NEMA 4X, Extreme Weather (-50°C ~ 60°C/-58°F ~ 140°F) | EOS | 5148
SUPREME | Thermal | VIO100203000 | IP-CAMERA TB9330-E 50 | Outdoor Bullet, 384x256 Thermal, 8.8, 19, 35 and 50mm Fixed-focal Lens (Optional), NETD< 50, PoE/DC12V/AC24V, I/O 1/1, Two-way Audio, SD/SDHC/SDXC,IP66/IP67/IK10 (Metal Housing), NEMA 4X, Extreme Weather (-50°C ~ 60°C/-58°F ~ 140°F) | EOS | 7465
SUPREME | Thermal | VIO100203100 | IP-CAMERA TB9331-E 35 | Outdoor Bullet, 720x480 Thermal, 8.8, 19, 35 and 50mm Fixed-focal Lens (Optional), NETD< 50, PoE/DC12V/AC24V, I/O 1/1, Two-way Audio, SD/SDHC/SDXC,IP66/IP67/IK10 (Metal Housing), NEMA 4X, Extreme Weather (-50°C ~ 60°C/-58°F ~ 140°F) | EOS | 8238
SUPREME | Thermal | VIO100198200 | IP-CAMERA TB9331-E 8.8 | Outdoor Bullet, 720x480 Thermal, 8.8, 19, 35 and 50mm Fixed-focal Lens (Optional), NETD< 50, PoE/DC12V/AC24V, I/O 1/1, Two-way Audio, SD/SDHC/SDXC,IP66/IP67/IK10 (Metal Housing), NEMA 4X, Extreme Weather (-50°C ~ 60°C/-58°F ~ 140°F) | EOS | 7208
SUPREME | Thermal | VIO100198700 | IP-CAMERA TB9331-E 19 | Outdoor Bullet, 720x480 Thermal, 8.8, 19, 35 and 50mm Fixed-focal Lens (Optional), NETD< 50, PoE/DC12V/AC24V, I/O 1/1, Two-way Audio, SD/SDHC/SDXC,IP66/IP67/IK10 (Metal Housing), NEMA 4X, Extreme Weather (-50°C ~ 60°C/-58°F ~ 140°F) | EOS | 7208
SUPREME | Thermal | VIO100203200 | IP-CAMERA TB9331-E 50 | Outdoor Bullet, 720x480 Thermal, 8.8, 19, 35 and 50mm Fixed-focal Lens (Optional), NETD< 50, PoE/DC12V/AC24V, I/O 1/1, Two-way Audio, SD/SDHC/SDXC,IP66/IP67/IK10 (Metal Housing), NEMA 4X, Extreme Weather (-50°C ~ 60°C/-58°F ~ 140°F) | EOS | 10555

## Camera
Series | Form Factor | Material No. | Model | Description | Status | MSRP(Euro)
C-SERIES | Cube | VIO100266300 | IP-CAMERA CC9160-H | Indoor, 2M 180° Panoramic, 30fps, H.265/H.264/MJPEG, f1.66mm,fisheyelens, Daytime, PoE, built-in mic, DI/DO, operating temp (0℃ ~ 40℃) | Available | 350
C-SERIES | Cube | VIO100266600 | IP-CAMERA CC9160-H(HS),(BLACK,CM) | Indoor, 2M 180° Panoramic height strip (cm), 30fps, H.265/H.264/MJPEG,f1.66mm fisheye lens, Daytime, PoE, DI/DO, operating temp (0℃ ~ 40℃) | Available | 490
C-SERIES | Cube | VIO100240800 | IP-CAMERA CC9380-HV | Outdoor Vandal Dome, 5MP 180° Panoramic, 30fps, H.265/H.264/MJPEG,f1.45 fisheye lens, Day/Night, WDR Pro 120dB,PoE, built-in mic, MicroSD/SDHC/SDXC, IP66, IK10, operating temp (-20℃ ~50℃/ -4℉ ~ 122℉) | Available | 490
C-SERIES | Cube | VIO100213300 | IP-CAMERA CC9381-HV | Outdoor Vandal Dome, 5MP 180° Panoramic, 30fps, H.265/H.264/MJPEG, f1.6mm fisheye lens, Day/Night, 180° IR Illuminators, WDR Pro 120dB, PoE, built-in mic, MicroSD/SDHC/SDXC, IP66, IK10, operating temp (-20℃ ~ 50℃/ -4℉ ~ 122℉) | Available | 620
SUPREME | Corner Camera | VIO100269900 | IP-CAMERA CD9381-HNVF2 WHITE | Indoor/Outdoor Vandal Proof, 5M 30fps, H.265/H.264/MJPEG, f2.4mm fixedfocal lens, D/N, 940nm IR up to 10m IR, WDR Pro, 3DNR, PoE/DC12V/AC24V,2 way audio, builtin mic, MicroSD/SDHC/SDXC, IP67, IK10+,Working Temperature: -10°C ~ 55°C (14°F ~ 122°F) | Available | 890
SUPREME | Corner Camera | VIO100270100 | IP-CAMERA CD9381-HNTV WHITE | Indoor/Outdoor Vandal Proof, 5M 30fps, H.265/H.264/MJPEG, remote lens, PoE/DC12V/AC24V,2 way audio, builtin mic, MicroSD/SDHC/SDXC, IP67, IK10+,Working Temperature: -10°C ~ 55°C (14°F ~ 122°F) | Available | 1030
C-SERIES | Dome | VIO100217200 | IP-CAMERA FD9166-HN,(2.8MM) | Indoor Mini Dome, 2M 30fps, H.265, f2.8mm fixed lens, 3 Axis with940IR 10M, WDR Pro, 3DNR, PoE, One way audio, Built-in micro | Available | 283
C-SERIES | Dome | VIO100217300 | IP-CAMERA FD9166-HN,(3.6MM) | Indoor Mini Dome, 2M 30fps, H.265, f3.6mm fixed lens, 3 Axis with940IR 10M, WDR Pro, 3DNR, PoE, One way audio, Built-in micro | Available | 283
V-SERIES | Dome | VIO100247000 | IP-CAMERA FD9167-HT-v2 | Indoor Dome, 2M 60fps, H.265/H.264/MJPEG, f2.7 ~ 13.5mm Motorized Lens,P-iris, D/N, IR 50m, SNV, WDR PRO, Smart Stream III, 3DNR, PoE/DC12V,I/O 1/1, Two-way Audio, MicroSD/SDHC/SDXC, Working Temperature: -10°C ~50°C (14°F ~ 122°F) | Available | 568
C-SERIES | Dome | VIO100255000 | IP-CAMERA FD9182-H,(2.8MM) | Recessed camera, 5MP, 20fps, WDR Pro | Available | 323
VALUE | Dome | VIO100221100 | IP-CAMERA FD9187-HT-A | Indoor Dome, 5M 30fps, H.265/H.264/MJPEG, f2.7 ~ 13.5 Motorized Lens, P-iris, IR 50m, SNV, WDR PRO, Smart Stream III, PoE/DC12V, I/O 2/2, Two-way Audio, MicroSD/SDHC/SDXC, Working Temperature: -10°C ~ 45°C (14°F ~113°F) | EOS | 530
VALUE | Dome | VIO100B11800 | IP-CAMERA FD9187-HT-V3(2.7-13.5MM) | Indoor Dome, 5M 30fps, H.265/H.264/MJPEG, f2.7 ~ 13.5 Motorized Lens, P- iris, IR 50m, SNV, WDR PRO, Smart Stream III, PoE/DC12V, I/O 2/2, Two- way Audio, MicroSD/SDHC/SDXC, Working Temperature: -10°C ~ 45°C (14°F ~ 113°F) | Available | 600
VALUE | Dome | VIO100B11900 | IP-CAMERA FD9187-HT-V3(7-22MM) | Indoor Dome, 5M 30fps, H.265/H.264/MJPEG, f7 ~ 22 Motorized Lens, P- iris, IR 50m, SNV, WDR PRO, Smart Stream III, PoE/DC12V, I/O 2/2, Two- way Audio, MicroSD/SDHC/SDXC, Working Temperature: -10°C ~ 45°C (14°F ~ 113°F) | Available | 902
VALUE | Dome | VIO100257400 | IP-CAMERA FD9189-H-v2 | Indoor Fixed Dome, 5M 30fps, H.265/H.264/MJPEG, f2.8mm fixed focal lens,D/N, IR 30m, WDR Pro, 3DNR, PoE, MicroSD/SDHC/SDXC, WorkingTemperature: -10°C ~ 50°C (14°F ~ 122°F ) | Available | 320
VALUE | Dome | VIO100257500 | IP-CAMERA FD9189-HT-v2 | Indoor Fixed Dome, 5M 30fps, H.265/H.264/MJPEG, f2.8~10mm remote focallens, D/N, IR 30m, WDR Pro, 3DNR, PoE, MicroSD/SDHC/SDXC, WorkingTemperature: -10°C ~ 50°C (14°F ~ 122°F ) | Available | 425
SUPREME | Dome | VIO100221000 | IP-CAMERA FD9365-EHTV-A | Outdoor Vandal Dome, 2M 60fps, H.265/H.264/MJPEG, f4 ~ 9mm MotorizedLens, P-iris, IR 50m, SNV, WDR PRO, Smart Stream III, PoE/DC12V/AC24V,I/O 2/2, Two-way Audio, MicroSD/SDHC/SDXC, IP66/IP67/IK10, WorkingTemperature: -50°C ~ 60°C (-58°F ~ 140°F) | EOS | 850
SUPREME | Dome | VIO100220900 | IP-CAMERA FD9365-HTV-A | Outdoor Vandal Dome, 2M 60fps, H.265/H.264/MJPEG, f4 ~ 9mm MotorizedLens, P-iris, IR 50m, SNV, WDR PRO, Smart Stream III, PoE/DC12V/AC24V,I/O 2/2, Two-way Audio, MicroSD/SDHC/SDXC, IP66/IP67/IK10, WorkingTemperature: -30°C ~ 60°C (-22°F ~ 140°F) | EOS | 773
SUPREME | Dome | VIO100B04100 | IP-CAMERA FD9365-EHTV-v2 | Outdoor Vandal-proof Dome, 2M 60fps, H.265/H.264/MJPEG, f4 ~ 9mmMotorized Lens, P-iris, D/N, IR 50m, SNV II, WDR PRO II, Smart StreamIII, Smart IR III, 3DNR, PoE, DC12V/AC24V, I/O 2/2, Two-way Audio,MicroSD/SDHC/SDXC, IP66/IP67/IK10/NEMA 4X, Working Temperature: -50°C ~60°C (-58°F ~ 140°F) | Available | 955
C-SERIES | DOME | VIO100217400 | IP-CAMERA FD9366-HV,(2.8MM) | Outdoor Mini Dome, 2M 30fps, H.265, f2.8mm fixed Lens, 3Axis, 850nm IR 20M, WDR Pro, PoE, I/O*1/1, One way audio, Built-in Mic | Available | 363
C-SERIES | DOME | VIO100217500 | IP-CAMERA FD9366-HV,(3.6MM) | Outdoor Mini Dome, 2M 30fps, H.265, f3.6mm fixed Lens, 3Axis, 850nm IR 20M, WDR Pro, PoE, I/O*1/1, One way audio, Built-in Mic | Available | 363
V-SERIES | Dome | VIO100247100 | IP-CAMERA FD9367-EHTV-v2 | Outdoor Vandal-proof Dome, 2M 60fps, H.265/H.264/MJPEG, f2.7 ~ 13.5mmMotorized Lens, P-iris, D/N, IR 50m, SNV, WDR PRO, Smart Stream III,3DNR, PoE/DC12V, I/O 1/1, Two-way Audio, MicroSD/SDHC/SDXC,IP66/IP67/IK10/NEMA 4X, Working Temperature: -40°C ~ 60°C (-40°F ~ 140°F) | Available | 600
C-SERIES | Dome | VIO100212900 | IP-CAMERA FD9368-HTV | Outdoor Fixed Dome, 2M 30fps, H.265/H.264/MJPEG, f2.8~12mm remote focal lens, D/N, IR 30m, WDR Pro, PoE, MicroSD/SDHC/SDXC, Working Temperature: -30°C ~ 60°C (-22°F ~ 140°F) | Available | 283
C-SERIES | Dome | VIO100249300 | IP-CAMERA FD9369,(AUDIO) | Outdoor Dome, 2M 30fps, H.265/H.264/MJPEG, 2.8mm,D/N, IR 30m, WDR Enhance, Smart Stream III,Smart motion,3DNR, PoE/DC12V, Built in Mic, MicroSD/SDHC/SDXC,IP66/IK10/Working Temperature: -30°C ~ 50°C (-22°F ~ 122°F) | Available | 143
C-SERIES | Dome | VIO100212800 | IP-CAMERA FD9380-H,(3.6MM) | Outdoor Fixed Dome, 5M 20fps, H.265/H.264/MJPEG, f3.6mm fixed focal lens, D/N, IR 30m, WDR Pro, PoE, MicroSD/SDHC/SDXC, Working Temperature: -30°C ~ 60°C (-22°F ~ 140°F ) | Available | 225
C-SERIES | Dome | VIO100217900 | IP-CAMERA FD9380-H,(2.8MM) | Outdoor Fixed Dome, 5M 20fps, H.265/H.264/MJPEG, f2.8mm fixed focal lens, D/N, IR 30m, WDR Pro, PoE, MicroSD/SDHC/SDXC, Working Temperature: -30°C ~ 60°C (-22°F ~ 140°F ) | Available | 230
VALUE | Dome | VIO100221300 | IP-CAMERA FD9387-EHTV-A | Outdoor Vandal Dome, 5M 30fps, H.265/H.264/MJPEG, f2.7 ~ 13.5 MotorizedLens, P-iris, IR 50m, SNV, WDR PRO, Smart Stream III, PoE/DC12V, I/O2/2, Two-way Audio, MicroSD/SDHC/SDXC, IP66/IP67/IK10, WorkingTemperature: -50°C ~60°C (-58°F ~ 140°F) | EOS | 683
VALUE | Dome | VIO100221200 | IP-CAMERA FD9387-HTV-A | Outdoor Vandal Dome, 5M 30fps, H.265/H.264/MJPEG, f2.7 ~ 13.5 MotorizedLens, P-iris, IR 50m, SNV, WDR PRO, Smart Stream III, PoE/DC12V, I/O2/2, Two-way Audio, MicroSD/SDHC/SDXC, IP66/IP67/IK10, WorkingTemperature: -30°C ~ 60°C (-22°F ~ 140°F) | EOS | 608
VALUE | Dome | VIO100B12000 | IP-CAMERA FD9387-EHTV-V3(2.7-13.5MM) | Outdoor Vandal Dome, 5M 30fps, H.265/H.264/MJPEG, f2.7 ~ 13.5 Motorized Lens, P-iris, IR 50m, SNV, WDR PRO, Smart Stream III, PoE/DC12V, I/O 2/2, Two-way Audio, MicroSD/SDHC/SDXC, IP66/IP67/IK10, Working Temperature: -50°C ~60°C (-58°F ~ 140°F) | Available | 700
VALUE | Dome | VIO100B12100 | IP-CAMERA FD9387-EHTV-V3(7-22MM) | Outdoor Vandal Dome, 5M 30fps, H.265/H.264/MJPEG, f7 ~ 22 Motorized Lens, P-iris, IR 50m, SNV, WDR PRO, Smart Stream III, PoE/DC12V, I/O 2/2, Two-way Audio, MicroSD/SDHC/SDXC, IP66/IP67/IK10, Working Temperature: -50°C ~60°C (-58°F ~ 140°F) | Available | 979
C-SERIES | Dome | VIO100213000 | IP-CAMERA FD9388-HTV | Outdoor Fixed Dome, 5M 20fps, H.265/H.264/MJPEG, f2.8~12mm remote focal lens, D/N, IR 30m, WDR Pro, PoE, MicroSD/SDHC/SDXC, Working Temperature: -30°C ~ 60°C (-22°F ~ 140°F) | Available | 335
VALUE | Dome | VIO100257700 | IP-CAMERA FD9389-EHTV-v2 | outdoor Fixed Dome, 5M 30fps, H.265/H.264/MJPEG, f2.8~10mm remote focallens, D/N, IR 30m, WDR Pro, 3DNR, PoE, MicroSD/SDHC/SDXC, WorkingTemperature: -40°C ~ 60°C (-40°F ~ 140°F) | Available | 453
VALUE | Dome | VIO100257600 | IP-CAMERA FD9389-EHV-v2 | outdoor Fixed Dome, 5M 30fps, H.265/H.264/MJPEG, f2.8mm fixed focallens, D/N, IR 30m, WDR Pro, 3DNR, PoE, MicroSD/SDHC/SDXC, WorkingTemperature:-40°C ~ 60°C (-40°F ~ 140°F) | Available | 350
SUPREME | Dome | VIO100B04200 | IP-CAMERA FD9391-EHTV-v2 | Outdoor Vandal-proof Dome, 4K 30fps, H.265/H.264/MJPEG, f4.4 ~ 10.2mmMotorized Lens, P-iris, D/N, IR 50m, SNV, WDR PRO, Smart Stream III,3DNR, Smart IR III, PoE, DC12V/AC24V, I/O 2/2, Two-way Audio,MicroSD/SDHC/SDXC, IP66/IP67/IK10/NEMA 4X, Working Temperature: -50°C ~60°C (-58°F ~ 140°F) | Available | 1288
C-SERIES | Fisheye | VIO100186200 | IP-CAMERA FE9180-H-v2 | Indoor, 5M, 15fps, H.265/H.264/MJPEG, f1.16mm fisheye lens, daytime only, WDR Pro, PoE, Built-in Mic, MicroSD/SDHC/SDXC | Available | 334
SUPREME | Fisheye | VIO100254900 | IP-CAMERA FE9191-H-V2 IK10 | Indoor 360 Fisheye, 12MP 2944x2944, 30fps, H.265/H.264/MJPEG, f1.22mm lens, F1.8, WDR Pro, Built-in Mic, MicroSD/SDHC/SDXC, PoE, Smart VCA, Local Dewarp, NDAA,IK10, -10°C ~ 50°C | Available | 770
SUPREME | Fisheye | VIO100254901 | IP-CAMERA FE9192-H | Recessed Indoor, 12M (2944x2944), 30fps, H.265/H.264/MJPEG, f1.22mmfisheye lens, F1.8, Day/Night, WDR Pro, Local Dewarp, PoE, Built-in Mic,MicroSD/SDHC/SDXC, Smart Stream III, Smart VCA, Operating Temp -10~50C(14~122F) | Available | 770
C-Series | Fisheye | VIO100229700 | IP-CAMERA FE9380-HV, N/A | Outdoor Vandal Proof, 5M, 30fps, H.265/H.264/MJPEG, f1.16mm fisheye lens, D/N, IR 10m, WDR Pro, 3DNR, PoE, built-in mic, MicroSD/SDHC/SDXC, IP66, IK10, operating temp -30℃ ~ 60℃/ -22℉ ~ 140℉ | Available | 462
SUPREME | Fisheye | VIO100229800 | IP-CAMERA FE9382-EHV-v2 | Outdoor Vandal Proof, NO DI/DO cable. 6M, 30fps, H.265/H.264/MJPEG, f1.245mm fisheyelens, D/N, WDR Pro, Smart IR II, 20m IR Illuminators, Built-in Mic,Smart Stream III, Smart VCA, MicroSD/SDHC/SDXC, IP66, IK10, NEMA 4X,extreme weather (-40℃ ~ 55℃/ -40℉ ~ 131℉), DI/DO/Audio Cable availableby special order (PRR) | Available | 710
SUPREME | Fisheye | VIO100254800 | IP-CAMERA FE9391-EHV-v2 | Outdoor 360 Fisheye, NO DI/DO CABLE, 12MP 2944x2944, 30fps, H.265/H.264/MJPEG, f1.22mmlens, F1.8, WDR Pro, 20m Smart IR, Built-in Mic, MicroSD/SDHC/SDXC, PoE, Smart VCA, IP66, IK10, NEMA 4X, LocalDewarp, NDAA, -40°C ~ 60°C | Available | 980
SUPREME | Fisheye | VIO100273700 | IP-CAMERA FE9391-EHV-V2 IO CABLE | Outdoor 360 Fisheye WITH DI/DO/AUDIO CABLE INSTALLED, 12MP 2944x2944, 30fps, H.265/H.264/MJPEG, f1.22mm lens, F1.8, WDR Pro, 20m Smart IR, Built-in Mic, DI/DO/2-way Audio Option, MicroSD/SDHC/SDXC, PoE, Smart VCA, IP66, IK10, NEMA 4X, Local Dewarp, NDAA, -40°C ~ 55°C | Available | 1004
SUPREME | Bullet | VIO100224900 | IP-CAMERA IB9365-EHT-A | Outdoor Vandal Dome, 5MP 180° Panoramic, 30fps, H.265/H.264/MJPEG, f1.6mm fisheye lens, Day/Night, 180° IR Illuminators, WDR Pro 120dB, PoE, built-in mic, MicroSD/SDHC/SDXC, IP66, IK10, operating temp (-20℃ ~ 50℃/ -4℉ ~ 122℉) | EOS (last stock in NL/TW) | 850
SUPREME | Bullet | VIO100224700 | IP-CAMERA IB9365-HT-A | Outdoor Bullet, 2M 60fps, H.265/H.264/MJPEG, f4 ~ 9mm Motorized Lens, P-iris, IR 50m, SNV, WDR PRO, Smart Stream III, PoE/DC12V/AC24V, I/O 2/2,Two-way Audio, MicroSD/SDHC/SDXC, IP66/IP67/IK10 (Metal Housing),Working Temperature: -30°C ~ 60°C (-22°F ~ 140°F) | EOS (last stock in NL/TW) | 773
SUPREME | Bullet | VIO100224800 | IP-CAMERA IB9365-HT-A,(12-40MM) | Outdoor Bullet, 2M 60fps, H.265/H.264/MJPEG, f12 ~ 40mm Motorized Lens,P-iris, IR 100m, SNV, WDR PRO, Smart Stream III, PoE/DC12V/AC24V, I/O2/2, Two-way Audio, MicroSD/SDHC/SDXC, IP66/IP67/IK10 (Metal Housing),Working Temperature: -30°C ~ 60°C (-22°F ~ 140°F) | EOS (last stock in NL) | 1045
SUPREME | Bullet | VIO100B03400 | IP-CAMERA IB9365-EHTV-v2 | Outdoor Vandal-proof Bullet, 2M 60fps, H.265/H.264/MJPEG, f4 ~ 9mmMotorized Lens, P-iris, D/N, IR 50m, SNV II, WDR PRO II, Smart StreamIII, Smart IR III, 3DNR, PoE/DC12V/AC24V, I/O 3/3, Two-way Audio,MicroSD/SDHC/SDXC, IP66/IP67/IK10/NEMA 4X, Working Temperature: -50°C ~60°C (-58°F ~ 140°F) | Available | 955
V-SERIES | Bullet | VIO100252700 | IP-CAMERA IB9367-EHT-v2 | Outdoor Vandal-proof Bullet, 2M 60fps, H.265/H.264/MJPEG, f2.7 ~ 13.5mmMotorized Lens, P-iris, D/N, IR 50m, SNV, WDR PRO, Smart Stream III,3DNR, PoE/DC12V, I/O 1/1, Two-way Audio, MicroSD/SDHC/SDXC,IP66/IP67/IK10/NEMA 4X, Extreme Weather: -40°C ~ 60°C (-40°F ~ 140°F) | Available | 600
V-SERIES | Bullet | VIO100252800 | IP-CAMERA IB9367-EHT-V2 5-50MM | Outdoor Vandal-proof Bullet, 2M 60fps, H.265/H.264/MJPEG, f5 ~ 50mmMotorized Lens, P-iris, D/N, IR 100m, SNV, WDR PRO, Smart Stream III,3DNR, PoE/DC12V, I/O 1/1, Two-way Audio, MicroSD/SDHC/SDXC,IP66/IP67/IK10/NEMA 4X, Extreme Weather: -40°C ~ 60°C (-40°F ~ 140°F) | Available | 825
C-SERIES | Bullet | VIO100211600 | IP-CAMERA IB9368-HT | Outdoor Bullet, 2M 30fps, H.265/H.264/MJPEG, f2.8~12mm remote focal lens, D/N, IR 30m, WDR Pro, PoE, MicroSD/SDHC/SDXC, Working Temperature: -30°C ~ 60°C (-22°F ~ 140°F) | Available | 285
C-SERIES | Bullet | VIO100256100 | IP-CAMERA IB9369 2.8MM | IB9369 Bullet, 2M 30fps, H.265/H.264/MJPEG, 2.8mm,D/N, IR 30m, WDR Enhance, Smart Stream III,Smart motion,3DNR, PoE/DC12V, Built in Mic, MicroSD/SDHC/SDXC,IP66/IK10/Working Temperature: -30°C ~ 50°C (-22°F ~ 122°F) | Available | 143
C-SERIES | Bullet | VIO100256200 | IP-CAMERA IB9369 3.6MM | IB9369 Bullet, 2M 30fps, H.265/H.264/MJPEG, 3.6mm,D/N, IR 30m, WDR Enhance, Smart Stream III,Smart motion,3DNR, PoE/DC12V, Built in Mic, MicroSD/SDHC/SDXC,IP66/IK10/Working Temperature: -30°C ~ 50°C (-22°F ~ 122°F) | Available | 143
C-SERIES | Bullet | VIO100211700 | IP-CAMERA IB9380-H | Outdoor Bullet, 5M 20fps, H.265/H.264/MJPEG, f3.6mm fixed focal lens, D/N, IR 30m, WDR Pro, PoE, MicroSD/SDHC/SDXC, Working Temperature: -30° C ~ 60°C (-22°F ~ 140°F ) | Available | 225
VALUE | Bullet | VIO100224600 | IP-CAMERA IB9387-EHT-A | Outdoor Bullet, 5M 30fps, H.265/H.264/MJPEG, f2.7 ~ 13.5 Motorized Lens,P-iris, IR 50m, SNV, WDR PRO, Smart Stream III, PoE/DC12V, I/O 2/2, Two-way Audio, MicroSD/SDHC/SDXC, IP66/IP67/IK10 (Metal Housing), WorkingTemperature: -50°C ~ 60°C (-58°F ~ 140°F) | EOS | 683
VALUE | Bullet | VIO100224500 | IP-CAMERA IB9387-HT-A | Outdoor Bullet, 5M 30fps, H.265/H.264/MJPEG, f2.7 ~ 13.5 MotorizedLens, P-iris, IR 50m, SNV, WDR PRO, Smart Stream III, PoE/DC12V, I/O2/2, Two-way Audio, MicroSD/SDHC/SDXC, IP66/IP67/IK10 (Metal Housing),Working Temperature: -30°C ~ 60°C (-22°F ~ 140°F) | EOS | 608
VALUE | Bullet | VIO100000099 | IP-CAMERA IB9387-EHTV-V3(2.7-13.5MM) | Outdoor Bullet, 5M 30fps, H.265/H.264/MJPEG, f2.7 ~ 13.5 Motorized Lens, P-iris, IR 50m, SNV, WDR PRO, Smart Stream III, PoE/DC12V, I/O 2/2, Two- way Audio, MicroSD/SDHC/SDXC, IP66/IP67/IK10 (Metal Housing), Working Temperature: -50°C ~ 60°C (-58°F ~ 140°F) | Available | 700
VALUE | Bullet | VIO100000096 | IP-CAMERA IB9387-EHTV-V3(7-22MM) | Outdoor Bullet, 5M 30fps, H.265/H.264/MJPEG, f7 ~ 22 Motorized Lens, P-iris, IR 50m, SNV, WDR PRO, Smart Stream III, PoE/DC12V, I/O 2/2, Two- way Audio, MicroSD/SDHC/SDXC, IP66/IP67/IK10 (Metal Housing), Working Temperature: -50°C ~ 60°C (-58°F ~ 140°F) | Available | 979
VALUE | Bullet | VIO100000100 | IP-CAMERA IB9387-EHTV-V3(12-40mm) | Outdoor Bullet, 5M 30fps, H.265/H.264/MJPEG, f12 ~ 40 Motorized Lens, P-iris, IR 50m, SNV, WDR PRO, Smart Stream III, PoE/DC12V, I/O 2/2, Two- way Audio, MicroSD/SDHC/SDXC, IP66/IP67/IK10 (Metal Housing), Working Temperature: -50°C ~ 60°C (-58°F ~ 140°F) | Available | 1083
C-SERIES | Bullet | VIO100211500 | IP-CAMERA IB9388-HT | Outdoor Bullet, 5M 20fps, H.265/H.264/MJPEG, f2.8~12mm remote focal lens, D/N, IR 30m, WDR Pro, PoE, MicroSD/SDHC/SDXC, Working Temperature: -30°C ~ 60°C (-22°F ~ 140°F) | Available | 335
VALUE | Bullet | VIO100257800 | IP-CAMERA IB9389-EH-v2 | Outdoor Bullet, 5M 30fps, H.265/H.264/MJPEG, f3.6mm fixed focal lens,D/N, IR 30m, WDR Pro, 3DNR, PoE, MicroSD/SDHC/SDXC, WorkingTemperature: -40°C ~ 60°C (-40°F ~ 140°F ) | Available | 350
VALUE | Bullet | VIO100257900 | IP-CAMERA IB9389-EHT-v2 | Outdoor Bullet, 5M 30fps, H.265/H.264/MJPEG, f2.8~10mm remote focallens, D/N, IR 30m, WDR Pro, 3DNR, PoE, MicroSD/SDHC/SDXC, WorkingTemperature: -40°C ~ 60°C (-40°F ~ 140°F ) | Available | 453
SUPREME | Bullet | VIO100B03500 | IP-CAMERA IB9391-EHTV-v2 | Outdoor Vandal-proof Bullet, 4K 30fps, H.265/H.264/MJPEG, f4.4 ~ 10.2mmMotorized Lens, P-iris, D/N, IR 50m, SNV II, WDR PRO II, Smart StreamIII, Smart IR III, 3DNR, PoE/DC12V/AC24V, I/O 3/3, Two-way Audio,MicroSD/SDHC/SDXC, IP66/IP67/IK10/NEMA 4X, Working Temperature: -50°C ~60°C (-58°F ~ 140°F) | Available | 1288
SUPREME | Box | VIO100253500 | IP-CAMERA IP9165-HT-v2,(NON-LENS) | Box Camera, 2M 60fps, H.265/H.264/MJPEG, remote backfocus, D/N, SNVII, WDR PRO II, 3DNR, Smart stream III, PoE/DC12V/AC24V,I/O 2*2, RS485, 2way audio | Available | 670
SUPREME | Box | VIO100253600 | IP-CAMERA IP9165-HT-v2,(3.9-10MM,iCS) | Box Camera, 2M 60fps, H.265/H.264/MJPEG, f3.9-10mm, i-CS, remote backfocus, D/N, SNVII, WDR PRO II, 3DNR, Smart stream III, PoE/DC12V/AC24V,I/O 2*2, RS485, 2way audio | Available | 1030
V-SERIES | Box | VIO100138300 | IP-CAMERA IP9171-HP | Box Camera, 3M 30fps, H.265/H.264/MJPEG, f2.8-8mm remote back focus, P-Iris, D/N, SNV, WDR PRO, 3DNR, PoE/DC12V/AC24V, I/O 3*1, RS485, 2way audio, MicroSD/SDHC/SDXC, Working Temperature: -10°C ~ 50°C (14°F ~ 122°F ) | EOS (last stock in NL/TW) | 773
V-SERIES | Box | VIO100138500 | IP-CAMERA IP9171-HP,(NON-LENS) | Box Camera, 3M 30fps, H.265/H.264/MJPEG, remote back focus, DC/P-Iris support, D/N, WDR PRO, 3DNR, PoE/DC12V/AC24V, I/O 3*1, RS485, 2way audio, MicroSD/SDHC/SDXC, Working Temperature: -10°C ~ 50°C (14°F ~ 122°F ) | EOS (last stock in NL/TW) | 543
V-SERIES | Box | VIO100142900 | IP-CAMERA IP9181-H,(NON-LENS) | Box Camera, 5M 30fps, H.265/H.264/MJPEG, remote back focus, DC/P-Iris support, D/N, WDR PRO, 3DNR, PoE/DC12V/AC24V, I/O 3*1, RS485, 2way audio, MicroSD/SDHC/SDXC,Working Temperature: -10°C ~ 50°C (14°F ~ 122°F ) | EOS (last stock in NL/TW) | 645
V-SERIES | Box | VIO100143000 | IP-CAMERA IP9181-H | Box Camera, 5M 30fps, H.265/H.264/MJPEG, f4.1-9mm remote back focus, DC Iris, D/N, SNV, WDR PRO, 3DNR, PoE/DC12V/AC24V, I/O 3*1, RS485, 2way audio, MicroSD/SDHC/SDXC,Working Temperature: -10°C ~ 50°C (14°F ~ 122°F ) | EOS (last stock in NL/TW) | 955
SUPREME | Box | VIO100189500 | IP-CAMERA IP9191-HT | Box Camera, 8M 30fps, H.265/H.264/MJPEG, f3.9~10mm, I-CS (Intelligent-CS mount) lens, DC/P-Iris support, remote back focus, D/N, WDR PRO, Smart Stream III, 3DNR, PoE/DC12V/AC24V, I/O 2*2, RS485, 2way audio | EOS (last stock in NL/TW) | 1263
SUPREME | Box | VIO100189600 | IP-CAMERA IP9191-HT,(NON-LENS) | Box Camera, 8M 30fps, H.265/H.264/MJPEG, w/o lens, i-CS(Intelligent-CS mount)/DC/P-Iris support, remote back focus, D/N, WDR PRO, Smart Stream III, 3DNR, PoE/DC12V/AC24V, I/O 2*2, RS485, 2way audio | EOS (last stock in NL/TW) | 1083
SUPREME | Box | VIO100B06800 | IP-CAMERA IP9191-HT-v2,(3.9-10MM) | NDAA Box Camera, 8M 30fps / 2MP 60fps, H.265/H.264/MJPEG, f3.9-10mm, i-CS, remote back focus, D/N, SNV, WDR PRO, 3DNR, PoE/DC12V/AC24V, I/O 2*2, BNC, RS485, 2way audio | Available | 1238
SUPREME | Box | VIO100B06900 | IP-CAMERA IP9191-HT-v2,(NON-LENS) | NDAA Box Camera, 8M 30fps / 2MP 60fps, H.265/H.264/MJPEG, i-CS/P-iris/DC-iris, remote back focus, D/N, SNV, WDR PRO, 3DNR,PoE/DC12V/AC24V, I/O 2*2, BNC, RS485, 2way audio | Available | 980
VALUE | Box | VIO100B07200 | IP-CAMERA IP9181-HT-v2,(2.8-8.5MM) | NDAA Box Camera, 5M 30fps, H.265/H.264/MJPEG, f2.8-8.5mm, i-CS, remoteback focus, D/N, SNV, WDR PRO, 3DNR, PoE/DC12V/AC24V, I/O 2*2, BNC,RS485, 2way audio | Available | 1108
VALUE | Box | VIO100B07300 | IP-CAMERA IP9181-HT-v2,(NON-LENS) | NDAA Box Camera, 5M 30fps, H.265/H.264/MJPEG, i-CS/P-iris/DC-iris,remote back focus, D/N, SNV, WDR PRO, 3DNR, PoE/DC12V/AC24V, I/O 2*2,BNC, RS485, 2way audio | Available | 773
C-SERIES | DOME | VIO100213900 | IP-CAMERA IT9360-H,(3.6MM) | Flat-faced Dome, 2M 30fps, H.265/H.264/MJPEG, f3.6mm fixed focal lens, D/N, IR 30m, WDR Pro, PoE, MicroSD/SDHC/SDXC, Working Temperature: -30° C ~ 60°C (-22°F ~ 140°F) | Available | 165
C-SERIES | DOME | VIO100225000 | IP-CAMERA IT9360-H 2.8MM | Flat-faced Dome, 2M 30fps, H.265/H.264/MJPEG, f2.8mm fixed focal lens,D/N, IR 30m, WDR Pro, PoE, MicroSD/SDHC/SDXC, Working Temperature: -30°C ~ 60°C (-22°F ~ 140°F) | Available | 168
C-SERIES | DOME | VIO100214000 | IP-CAMERA IT9380-H 3.6MM | Flat-faced Dome, 5M 20fps, H.265/H.264/MJPEG, f3.6mm fixed focal lens, D/N, IR 30m, WDR Pro, PoE, MicroSD/SDHC/SDXC, Working Temperature: -30 ° C ~ 60°C (-22°F ~ 140°F) | Available | 225
C-SERIES | DOME | VIO100225100 | IP-CAMERA IT9380-H 2.8MM | Flat-faced Dome, 5M 20fps, H.265/H.264/MJPEG, f2.8mm fixed focal lens,D/N, IR 30m, WDR Pro, PoE, MicroSD/SDHC/SDXC, Working Temperature: -30°C ~ 60°C (-22°F ~ 140°F) | Available | 230
C-SERIES | DOME | VIO100214100 | IP-CAMERA IT9388-HT | Flat-faced Dome, 5M 20fps, H.265/H.264/MJPEG, f2.8~12mm remote focal lens, D/N, IR 30m, WDR Pro, PoE, MicroSD/SDHC/SDXC, Working Temperature: -30°C ~ 60°C (-22°F ~ 140°F) | Available | 335
VALUE | DOME | VIO100261800 | IP-CAMERA IT9389-H-V2 2.8MM | Turret Camera, 5M 30fps, H.265/H.264/MJPEG, f2.8mm Fixed-focal Lens,D/N, IR 30m, SNV, WDR Pro, 3DNR, PoE, MicroSD/SDHC/SDXC, IP66/IK08,Working Temperature: -20°C ~ 50°C (-4°F ~ 122°F ) | Available | 350
SUPREME | Multi Sensor | VIO100B04900 | IP-CAMERA MA9322-EHTVL | Outdoor Vandal Dome, 20M Multi-Sensor Adjustable, (4x5M sensors), 30fps,H.265/H.264/MJPEG, 3.7~7.7mm motorized lenses, D/N, WDR Pro 120dB, 30mIR illuminators, PoE, Smart Stream III, operating temp. (-40℃ ~ 50℃/ -40℉ ~ 122℉) | Available | 1985
VALUE | Multi Sensor | VIO100B04300 | IP-CAMERA MS9390-EHV-v2 | Outdoor Vandal Dome, 8M 180° Panoramic (4736x 1648), (2x4Msensors),30fps, H.265/H.264/MJPEG, 2.8mm each lens, D/N, IR 20m, SmartIR III,WDR Pro, PoE, Built-in Mic, MicroSD/SDHC/SDXC, IP66, IK10,Operating Temp (-40℃ ~ 60℃/ -40℉ ~ 140℉) | Available | 1288
SUPREME | Multi Sensor | VIO100000068 | IP-CAMERA MS9321-EHV-V2 | Outdoor Vandal Bullet, 20M 180° Panoramic, (4x5 sensors), 30fps,H.265/H.264/MJPEG, 3.8mm each lens, D/N, 30m IR illuminators, Smart IRII, WDR Pro 120 dB, operating temp. (-40C ~ 60C, -40F ~ 140F) | Coming soon | 2408
VALUE | Speed Dome | VIO100B05600 | IP-CAMERA SD9161-H-v2 | Indoor Speed Dome, 2M 60fps, H.265/H.264/MJPEG, 10x Optical Zoom, WDR Pro, 3DNR, PoE/AC 24V/DC 24V, I/O*2/1, Two way audio,MicroSD/SDHC/SDXC | Available | 980
SUPREME | Speed Dome | VIO100256700 | IP-CAMERA SD9384-EHL | IR Speed Dome, 5M 30fps, H.265, 30x Optical Zoom, IR 200M,WDR Pro, 3DNR, PoE/DC48V/AC24V, I/O*2/1, Two way audio,Micro SDXC, IP66, IK10, NEMA 4X | Available | 2268
SUPREME | Speed Dome | VIO100260100 | IP-CAMERA SD9368-EHL | IR Speed Dome, 2M 60fps, H.265, 40x Optical Zoom, IR 250M,WDR Pro, 3DNR, PoE/DC48V/AC24V, I/O*2/1, Two way audio,Micro SDXC, IP66, IK10, NEMA 4X | Available | 2138
SUPREME | Speed Dome | VIO100B11100 | IP-CAMERA SD9394-EHL | IR Speed Dome, 8M 30fps, H.265, 32x Optical Zoom, IR 250M, WDR Pro, 3DNR, PoE/DC48V/AC24V, I/O*2/1, Two way audio, Micro SDXC, IP66, IK10, NEMA 4X | Coming soon | 3668
VALUE | Split | VIO100274100 | IP-CAMERA VC9101 | Video Core for pinhole, must add lens CU91xx. Split-type, H.265,H.264/MJPEG, PoE/DC 8-36V, I/O*1/1, Twoway audio, MicroSD/SDHC/SDXC, operating temp(-10℃ ~ 50℃); work with CU camera unit | Available | 285
VALUE | Split | VIO100274200 | IP-CAMERA CU9171-H W/CABLE | Lens for VC9101. Camera Unit, split-type, 4M 30fps, H.264/MJPEG, pinhole Lens, WDR Pro,3DNR, with 5 Meters cable, operating temp(-10℃ ~ 50℃), cylinder type;work with VC9101 | Available | 208
VALUE | Split | VIO100274400 | IP-CAMERA CU9171-HF W/CABLE | Lens for VC9101. Camera Unit, split-type, 4M 30fps, H.264/MJPEG, pinhole Lens, WDR Pro,3DNR, with 5 Meters cable, operating temp(-10℃ ~ 50℃), flat type, for 90 degree installation; workwith VC9101 | Available | 208
VALUE | Split | VIO100274300 | IP-CAMERA CU9183-H W/CABLE | Lens for VC9101. Camera Unit, split-type, 5M 30fps, H.264/MJPEG, fisheye Lens, localdewarp, WDR Pro, 3DNR, with 5 Meters cable, operating temp(-10℃ ~50℃), cylinder type; work with VC9101 | Available | 258
VALUE | Split | VIO100274500 | IP-CAMERA CU9183-HF W/CABLE | Lens for VC9101. Camera Unit, split-type, 5M 30fps, H.264/MJPEG, fisheye Lens, localdewarp, WDR Pro, 3DNR, with 5 Meters cable, operating temp(-10℃ ~50℃), flat type, for 90 degree installation; work with VC9101 | Available | 258
C-SERIES | Video Server | VIO100174000 | VIDEO-SERVER VS8100-v2 | Video server, 1CH, D1 30pfs, H.264, MJPEG, DC 12V, One-way Audio | EOS (stock in NL) | 135
Note on G14: Author: Standard MSRP is 747 EUR, 2004 promo MSRP is 600 EUR
Note on G23: Author: Standard MSRP is 650 EUR, 2024 MSRP is 600 EUR
Note on G30: Author: Standard MSRP is 824 EUR, 2024 promo MSRP is 700 EUR
Note on G47: Author: Standard MSRP is 645 EUR, 2024 MSRP is 600 EUR
Note on G55: Author: Standard MSRP is 824 EUR, 2024 promo MSRP is 700 EUR

## NVR
Series | Form Factor | P/N | Model | EAN | Description | Status | MSRP(Euro)
C-SERIES | Desktop NVR | VIO100256410 | NVR ND9213P EU | 4710469352515 | H.265, 4CH, 1 HDMI+1 VGA, 1080P @ 120 fps, 4K display, 4/1 alarm in/out,1HDD, 1 LAN(FE), 4 PoE, NDAA | EOS (last stock in NL) | 298
V-SERIES | Desktop NVR | VIO100B05220 | NVR ND9323P EU 8CH NEW PHY | 4710469352164 | NDAA SoC, H.265, 8CH, 1 HDMI+1 VGA, 1080P @ 120 fps, 4K display, 4/1alarm in/out, 2 HDD, RAID 0/1, 1 LAN(Giga), 8 PoE | EOS (last stock in NL) | 400
VALUE | Desktop NVR | VIO100B03820 | NVR ND9425P EU 16CH NEW PHY | 4710469352171 | NDAA SoC, H.265, 8CH, 1 HDMI+1 VGA, 1080P @ 120 fps, 4K display, 4/1alarm in/out, 2 HDD, RAID 0/1, 1 LAN(Giga), 8 PoE | EOS (last stock in NL) | 555
VALUE | Desktop NVR | VIO100000051 | NVR ND9326P EU 8CH | 4710469354540 | H.265,8CH, 1 HDMI, 1080P @ 480 fps, 4K display, Dual LAN | AVAILABLE | 540
VALUE | Desktop NVR | VIO100000045 | NVR ND9426P EU 16CH | 4710469354557 | H.265,16CH, 1 HDMI, 1080P @ 480 fps, 4K display, Dual LAN | AVAILABLE | 656
VALUE | Desktop NVR | VIO100B05420 | NVR ND9442P EU 16CH | 4710469359675 | H.265, 16CH, 1 HDMI+1 VGA, 1080P @ 360 fps, 4K display, 16/8 alarmin/out, 4 HDD, RAID 0/1/5, 2 LAN(Giga), 16 PoE, Core+ AI | AVAILABLE | 1028
VALUE | Desktop NVR | VIO100B05520 | NVR ND9542P EU 32CH | 4710469359682 | H.265, 32CH, 1 HDMI+1 VGA, 1080P @ 360 fps, 4K display, 16/8 alarmin/out, 4 HDD, RAID 0/1/5, 2 LAN(Giga), 16 PoE, Core+ AI | AVAILABLE | 1235
SUPREME | Rackmount NVR | VIO100000004 | NVR NR9581-V3 32CH | 4710469354526 | H.265, 32CH, 1 HDMI+ 1 DP + 1 DVI +1 VGA, 1080P @ 450 fps, 8 Hot-swappable HDD, RAID 0/1/5/6/10/50/60, 2 LAN(2.5 Giga), Redundant power, Redundant Failover server, VSS Pro | Coming soon | 7399
SUPREME | Rackmount NVR | VIO100000005 | NVR NR9682-V3 64CH | 4710469354533 | H.265, 64CH, 1 HDMI+ 1 DP + 1 DVI +1 VGA, 1080P @ 450 fps, 16 Hot-swappable HDD, RAID 0/1/5/6/10/50/60, 2 LAN(2.5 Giga), Redundant power, Redundant Failover server, VSS Pro | Coming soon | 9699
V-SERIES | Desktop NVR | VIO100141310 | NVR ND9441,EU,(16CH,ELABEL) | 4712123675725 | H.265, 16CH, 1 HDMI+1 VGA, 1080P @ 480 fps, 4K display, 8/4 alarm in/out, 4 HDD, RAID 0/1/5, 2 LAN(Giga) | EOS (last stock in NL) | 770
SUPREME | Rackmount NVR | VIO100217100 | NVR NR9682-V2 64CH MAE | 4710469350955 | H.265, 64CH, 1 HDMI+1 DP+ 1 DVI, 1080P @ 270 fps, 4K display, 16 Hot- swappable HDD, RAID 0/1/5/6/10, 2 LAN(Giga), Redundant power, version 2 | EOS (last stock in NL) | 9000
SUPREME | Rackmount NVR | VIO100217000 | NVR NR9782-V2 128CH MAE | 4710469350962 | H.265, 128CH, 1 HDMI+1 DP+ 1 DVI, 1080P @ 270 fps, 4K display, 16 Hot- swappable HDD, RAID 0/1/5/6/10, 2 LAN(Giga), Redundant power, version 2 | EOS (last stock in NL) | 10430
C-SERIES | Network Receiver | VIO100B09910 | VIDEO-RECEIVER RX9502 EU | 4710469354090 | H.265, 32CH, 1 HDMI, 1080P @ 360 fps, 4K display, 1 LAN | AVAILABLE | 410

## PoE&Accessories
Series | Form Factor | P/N | Model | Description | Status | MSRP
Accessory | POWER SUPPLY | VIO900043701 | POWER-ADAPTER AA-352 | Outdoor 24VAC power supply, IP67/IK10 | Available | 186
Accessory | COVER | VIO900047400 | COVER AC-215_V01 | Smoked cover for Indoor Speed Dome | Available | 18
Accessory | COVER | VIO100B00100 | DOME-COVER AC-22B | Hard-coating smoked dome bubble for FD9167-HT-v2, FD9367-EHTV-v2,FD9365-EHTV-v2 and FD9391-EHTV-v2 | Available | 34
Accessory | COVER | VIO100000107 | DOME-COVER AC-22C | HYDROPHILIC-DOME-COVER AC-22C | Available | 74
Accessory | ENCLOSURES | VIO100185300 | AE-153_V01 | Outdoor enclosure for SC8131 | Limited | 238
Accessory | ENCLOSURES | VIO900041102 | ENCLOSURE AE-238 | Side Open Aluminum Camera Housing AC24V in,Windowheater,Fan,IP68, -20~50℃,wall bracket&sun shield | Available | 234
Accessory | ENCLOSURES | VIO900042302 | ENCLOSURE AE-23A | Side Open Aluminum Camera Housing AC24V in,Window heater, Fan,IP68, -20~50℃, optional snap-in VAIR,Wall bracket, Sun shield | Available | 290
Accessory | ENCLOSURES | VIO900053100 | ENCLOSURE AE-23A-P | Side Open Aluminum Camera Housing, AC24V in,Window heater, Fan,IP68, -20~50℃, 48W snap-in VAIR, Wall bracket, Sunshield | Available | 640
Accessory | ENCLOSURES | VIO900060000 | ENCLOSURE AE-23E-V2 | Side Open Aluminum Camera Housing, PoE 802.3bt in, Window heater, Fan,IP68, -20 ~65 ℃, optional snap-in VAIR, Wall bracket, Sun shield | Available | 382
Accessory | ENCLOSURES | VIO900046401 | ENCLOSURE AE-23L | Side Open Aluminum Camera Housing, AC24V in, Window heater, Fan, IP68,-20~50℃, Sun shield,for LPC kit | Available | 202
Accessory | ENCLOSURES | VIO900042403 | ENCLOSURE AE-244 | Side Open Aluminum Camera Housing, PoE in, Window heater, Fan,IP68, -20~50℃, 6W fixed IR, Wall Bracket, Sun shield | Available | 390
Accessory | ENCLOSURES | VIO900055700 | ENCLOSURE AE-510 | Stainless Camera Housing, AC24V in, windows heater, Fan, IP68, -20℃~50℃, sunshield | Available | 1236
Accessory | ENCLOSURES | VIO900055800 | ENCLOSURE AE-510-I | Stainless Camera Housing, AC24V in, 6W VAIR,windows heater, Fan, IP68,-20℃~50℃,sunshield | Available | 1752
Accessory | IR ILLUMINATOR | VIO900046100 | IR-ILLUMINATOR AI-109 | Snap 850mn IR LED illuminator 48W Vari angle from 10-30, IR distance 120-200m | Available | 352
Accessory | JOYSTICK | VIO900038300 | JOYSTICK AJ-001 | 8 KEY JOYSTICK | Available | 258
Accessory | JOYSTICK | VIO900038210 | JOYSTICK AJ-002-EU | 28 KEY JOYSTICK | EOS | 650
Accessory | LENS | VIO640016100 | LENS DV2.2x4.1SR4A-SA2L AL-237 | 4.1~9mm, F1.6, DC-iris, 1/1.8" | EOS | 228
Accessory | LENS | VIO640024600 | LENS YT3016CS-2MP AL-23A | 2.7~13.5mm, F1.6, DC-iris, 1/2.8" | EOS | 36
Accessory | LENS | VIO640024500 | LENS YT3017-CS-1-2MP AL-23B | 5 ~ 50mm, F2.0, DC-iris, 1/2.8" | EOS | 98
Accessory | LENS | VIO900023200 | AL242,AG4Z1214KCS-MPIR,CBC | 12.5~50mm, F1.4, P-iris, 1/2.7" | Available | 352
Accessory | LENS | VIO900025100 | LENS AL-243 | 7~22 mm, F1.4, P-iris, 1/2.7" | Available | 108
Accessory | LENS | VIO640022800 | AL-246,LENS,AG3Z2812KCS-MPWIR | 2.8~8.5mm, F1.2, P-iris, 1/2.7" | Available | 186
Accessory | LENS | VIO640008301 | AL-247,LENS,M13VP288IR,TAMRON | 2.8 ~ 8mm, F1.2, P-iris, 1/3" | Available | 162
Accessory | LENS | VIO640019900 | LENS SL1250P AL-248 | 12~50mm, F1.8, P-iris, 1/1.7" | Available | 402
Accessory | LENS | VIO640022601 | AL-24A,LENS,M118VP1240IRCSR1 | 12~40mm, F2.3, P-iris, 1/2" | Available | 174
Accessory | LENS | VIO640032400 | AL-24F,LENS,E5229H-R1 | Lens Accessory, 4.4~10mm, F1.3, P-iris | Available | 98
Accessory | LENS | VIO640034300 | AL-24G,LENS,E5369F | Lens Accessory, 10~40mm, F1.3, P-iris | Available | 186
Accessory | LENS | VIO640022500 | AL-251,LENS,EG3Z3915TCS-MPWIR | 3.9 ~ 10mm, F1.5, i-CS, 1/1.8" | Available | 268
Accessory | LENS | VIO640027100 | AL-252,LENS,EG6Z0915TCS-MPWIR | 9~50mm, F1.5, i-CS, 1/1.8" | Available | 578
Accessory | MOUNTING KIT | VIO900026802 | MOUNTING-KIT AM-105_V03 | Recessed Kit | Available | 122
Accessory | MOUNTING KIT | VIO100150600 | MOUNTING-KIT AM-106 V01 | Tilt bracket for SC8132 | Available | 88
Accessory | MOUNTING KIT | VIO900037300 | MOUNTING-KIT AM-107_V01 | Recessed kit for indoor speed dome | Available | 166
Accessory | MOUNTING KIT | VIO100187100 | RECESSED-KIT AM-108 V01 | Tilt bracket for SC8131 | Available | 218
Accessory | MOUNTING KIT | VIO909012800 | MOUNTING-KIT AM-10D V01 | Recessed bracket of MA9321-EHTV | Available | 174
Accessory | MOUNTING KIT | VIO900056200 | MOUNTING-KIT AM-10E | Recessed kit for outdoor speed dome | Available | 174
Accessory | MOUNTING KIT | VIO100213100 | MOUNTING-KIT AM-10F V01 | Recessed bracket of MA9322-EHTV | Available | 174
Accessory | MOUNTING KIT | VIO100B00200 | MOUNTING-KIT AM-10G_V01 | Mounting kit for SC9133 | Available | 74
Accessory | MOUNTING KIT | VIO100B10900 | MOUNTING-KIT AM-10G_V01 RTL WHT | SC9133-RTL Recess Tilt Mounting Bracket | Available | 74
Accessory | MOUNTING KIT | VIO900073500 | MOUNTING-KIT AM-10H | Recessed kit for v2 dome: FD9167-HT-v2, FD9367-EHTV-v2, FD9365-EHTV-v2,FD9391-EHTV-v2 | Available | 134
Accessory | MOUNTING KIT | VIO900004101 | PENDANT-HEAD AM-114_V02 | Pendant head (outdoor) | Available | 86
Accessory | MOUNTING KIT | VIO900014301 | PENDANT-MOUNT-BRACKET AM-116_V02 | Pendant Pipe (20cm) (1.5" PS11) | Available | 32
Accessory | MOUNTING KIT | VIO900014401 | RECESSED-CEILING-MOUNT AM-117_V02 | Pendant Pipe (40cm) (1.5" PS11) | Available | 48
Accessory | MOUNTING KIT | VIO900014601 | PENDANT-MOUNT-BRACKET AM-118_V02 | Pendant head (indoor) | Available | 66
Accessory | MOUNTING KIT | VIO100000069 | PENDANT-MOUNT-BRACKET AM-11H | Pendant mount for SC9133-RTL | Available | 112
Accessory | MOUNTING KIT | VIO900044501 | MOUNTING-KIT AM-11F | Ceiling mount bracket,120~180cm,max:2.5kg | Available | 64
Accessory | MOUNTING KIT | VIO100186600 | MOUNTING-BRACKET AM-11G V01 | Pendant pipe for MS9390-HV. (Must be installed with AM-114) | Available | 88
Accessory | MOUNTING KIT | VIO909008000 | MOUNTING-KIT AM-216 V01 | 15-degree Wall Mount bracket for FE9180-H | Available | 22
Accessory | MOUNTING KIT | VIO100146101 | MOUNTING-KIT AM-218 V02 | Wall Mount Bracket | Available | 44
Accessory | MOUNTING KIT | VIO900049700 | BRACKET-KIT AM-219 | L bracket for 2 CaMate series IR illuminator | Available | 52
Accessory | MOUNTING KIT | VIO909009301 | MOUNTING-KIT AM-21A V02 | L-shape Bracket | Available | 34
Accessory | MOUNTING KIT | VIO100152800 | MOUNTING-KIT AM-21B V01 | L-shape bracket for mini dome cameras | Available | 34
Accessory | MOUNTING KIT | VIO900037701 | MOUNTING-KIT AM-21C_V01 | Wall Mount Bracket for indoor speed dome. | Available | 84
Accessory | MOUNTING KIT | VIO900044400 | AM-21D,BK-100 | Wall mount bracket | EOS | 32
Accessory | MOUNTING KIT | VIO900044700 | MOUNT-BRACKET AM-21E | Wall mount bracket with cable management and quick lock installation | Available | 68
Accessory | MOUNTING KIT | VIO900065200 | MOUNTING-KIT AM-21E-V2 | Wall mount bracket with cable management and quick lock installation | Available | 66
Accessory | MOUNTING KIT | VIO900056700 | MOUNTING-KIT AM-21L | Stainless steel wall mount for AE-510/510-I | Available | 196
Accessory | MOUNTING KIT | VIO100217602 | MOUNTING-KIT AM-21M V03 | L Shape bracket for IT9389-H, IT9389-HT, IT9360-H, IT9380-H, FD9366-HV,FD9369 | Available | 32
Accessory | MOUNTING KIT | VIO100228700 | MOUNTING-KIT AM-21N V01 | Tilt bracket for MS9390-HV | Available | 50
Accessory | MOUNTING KIT | VIO909B00100 | MOUNTING-KIT AM-21O_V01 | L-shaped bracket for FD9167-HT-v2, FD9367-EHTV-v2, FD9365-EHTV-v2 and FD9391-EHTV-v2 | Available | 68
Accessory | MOUNTING KIT | VIO900000014 | MOUNTING-KIT AM-21P | Wall mount bracket for Speed dome | Available | 198
Accessory | MOUNTING KIT | VIO663007802 | BRACKET WALL HANGING AL ALLOY - AM-220 | AM-220, Wall mount bracket for IR SD | Available | 104
Accessory | MOUNTING KIT | VIO900014801 | GOOSENECK-WALL-MOUNT-BRACKET AM-221_V02 | Gooseneck mounting bracket | Available | 162
Accessory | MOUNTING KIT | VIO900015001 | PARAPET-MOUNT-BRACKET AM-231_V02 | Parapet mounting bracket | Available | 568
Accessory | MOUNTING KIT | VIO900034802 | MOUNTING-KIT AM-312_V03 | Pole mount bracket (Pole diameter:90~152mm) | Available | 68
Accessory | MOUNTING KIT | VIO900045601 | MOUNTING-KIT AM-314 | Pole Mount; pole diameter:15.24~89mm | EOS | 64
Accessory | MOUNTING KIT | VIO900045501 | MOUNTING-KIT AM-315 | Pole Mount; pole diameter:100~230mm | Available | 148
Accessory | MOUNTING KIT | VIO900034902 | MOUNTING-KIT AM-412_V03 | Corner mount bracket | Available | 92
Accessory | MOUNTING KIT | VIO900046301 | MOUNTING-KIT AM-414 | Corner Mount | Available | 78
Accessory | MOUNTING KIT | VIO100138800 | MOUNTING-KIT AM-514 V01 | Adapting plate for 4" electrical box & single gang box | Available | 46
Accessory | MOUNTING KIT | VIO100140100 | MOUNTING-KIT AM-51C V01 | Adapting plate for 4" electrical box and single gang box | Available | 46
Accessory | MOUNTING KIT | VIO100147700 | MOUNTING-KIT AM-51D V01 | Adapting plate for 4" electrical octagon box & single gang box | Available | 40
Accessory | MOUNTING KIT | VIO100171300 | MOUNTING-KIT AM-51E V01 | Adapting Plate for mini dome | Available | 34
Accessory | MOUNTING KIT | VIO100220600 | MOUNTING-KIT AM-51G V01 | Adapting Plate(Support 3.5" electrical box & single gang box) | Available | 34
Accessory | MOUNTING KIT | VIO100258600 | MOUNTING-KIT AM-51H V01 | 4" Electrical Octagon Box <(>&<)> Single Gang Box For FD9369 | Available | 28
Accessory | MOUNTING KIT | VIO900020104 | MOUNTING-KIT AM-520_V05 | Mounting adapter (3/4" NPT female connector & 1-1/2" PS11 maleconnector) | Available | 74
Accessory | MOUNTING KIT | VIO900020202 | MOUNTING-KIT AM-522_V03 | Adapter for 3/4" NPT and 1.5" PS11 (3/4" NPT male connector & 1.5" PS11male connector) | Available | 22
Accessory | MOUNTING KIT | VIO909004501 | MOUNTING-KIT AM-523 V02 | Adapting Plate for 4" electrical box | Available | 24
Accessory | MOUNTING KIT | VIO100140500 | MOUNTING-KIT AM-525 V01 | Mounting adapter for dome (Metal) | Available | 62
Accessory | MOUNTING KIT | VIO100140400 | MOUNTING-KIT AM-527 V02 | Mounting adapter for dome (Plastic) | Available | 48
Accessory | MOUNTING KIT | VIO100147800 | MOUNTING-KIT AM-528 V01 | Mounting adapter for dome (Metal) | Available | 26
Accessory | MOUNTING KIT | VIO900032400 | MOUNTING-KIT AM-529 | Mounting adapter for outdoor speed dome | Available | 64
Accessory | MOUNTING KIT | VIO900037200 | MOUNTING-KIT AM-52A_V01 | Mounting adapter | Available | 48
Accessory | MOUNTING KIT | VIO100193800 | MOUNTING-ADAPTER AM-52B V01 | Mounting Adapter (3/4" NPT Female Connector) | Available | 30
Accessory | MOUNTING KIT | VIO100186100 | MOUNTING-ADAPTER AM-52C V01 | Mounting adapter (1/2" NPT female adapter) (Plastic) | Available | 36
Accessory | MOUNTING KIT | VIO100217701 | MOUNTING-KIT AM-52E V02 | Mounting Adapter for IT9389-H, IT9389-HT, IT9360-H, IT9380-H, IT9388-HT,FD9360-H, FD9380-H, FD9369 | Available | 42
Accessory | MOUNTING KIT | VIO100B10700 | MOUNTING-KIT AM-52F | Pendant Mount Adapter(1-1/2" PS) for FE9192-H, FD9182-H | Available | 62
Accessory | MOUNTING KIT | VIO900012600 | RACK-MOUNT-KIT AM6102_V01 | Rack mounting kit (5pieces in package) | EOS | 114
Accessory | MOUNTING KIT | VIO900031102 | MOUNTING-KIT AM-611 | Ear mount bracket for ND9322P/ND9424P v1 & v2 | Available | 20
Accessory | MOUNTING KIT | VIO900030000 | MOUNTING-KIT AM-612 | RACK MOUNT Rails, AM-612 | Available | 62
Accessory | MOUNTING KIT | VIO900021321 | JUNCTION-BOX AM-712_V03 | Conduit Box for indoor dome | Available | 34
Accessory | MOUNTING KIT | VIO100138700 | JUNCTION-BOX AM-713 V01 | Outdoor Conduit box (IP66) | Available | 48
Accessory | MOUNTING KIT | VIO900042800 | JUNCTION-BOX AM-718 | Junction Box | Available | 118
Accessory | MOUNTING KIT | VIO100184500 | JUNCTION-BOX AM-719 V01 | Junction Box | Available | 30
Accessory | MOUNTING KIT | VIO100220400 | MOUNTING-KIT AM-71B V01 | Outdoor Conduit Box (IP66) | Available | 44
Accessory | MOUNTING KIT | VIO100220500 | MOUNTING-KIT AM-71C V01 | Junction Box (IP66) | Available | 44
Accessory | MOUNTING KIT | VIO100231900 | MOUNTING-KIT AM-71D V01 | Conduit box for FD9360-H, FD9380-H (non-waterproof) | Available | 22
Accessory | MOUNTING KIT | VIO100231801 | MOUNTING-KIT AM-71E V02 | Conduit box for IB9360-H, IB9380-H (non-waterproof), FD9369, IB9369 | Available | 22
Accessory | MOUNTING KIT | VIO100258500 | MOUNTING-KIT AM-71F V01 | Plastic conduit box for IB9369/FD9369 | Available | 14
Accessory | MOUNTING KIT | VIO100000003 | MOUNTING-KIT AM-71G | Conduit box for FD65-v2 FD67-v2 FD91-v2 IB65-v2 IB67-v2 IB91-v2 | Available | 62
Accessory | MOUNTING KIT | VIO900044600 | MOUNTING-KIT AM-811 | Standing Mount | Available | 40
Accessory | MOUNTING KIT | VIO900070000 | MOUNTING-KIT AM-821 | Standing Mount Bracket for FT9361-R | Available | 270
Accessory | MOUNTING KIT | VIO900070100 | MOUNTING-KIT AM-831 | Desk Mount Bracket for FT9361-R | Available | 136
Accessory | Wireless module & antenna | VIO100203900 | LTE-ANTENNA-CABLE AMN-M21-01 | LTE antenna kit, Mobile NVR | EOS | 68
Accessory | Wireless module & antenna | VIO100203300 | WIFI-MODULE AMN-W11-01 | 2.4& 5GHz WiFi module, Mobile NVR accessory | EOS | 50
Accessory | Wireless module & antenna | VIO100203400 | WIFI-ANTENNA AMN-W21-01 | WiFi antenna kit, Mobile NVR accessory | EOS | 33
Accessory | Connector | VIO900011600 | WATERPROOF-CONNECTOR AN3000 | Outdoor Ethernet Waterproof connector two way | Available | 14
Accessory | Connector | VIO900061700 | IO-CABLE AO-20W | Wiegand Convertor | Available | 412
PoE | Hyper PoE EXTENDER | VIO900057600 | AP-FHP-0100-R,TE11-110-RX | Hyper PoE PoE in Rx, 1x Hyper PoE Port, 1x FE RJ45, 1 DC Jack, -20ﾟC~60ﾟC | EOS | 232
PoE | Hyper PoE EXTENDER | VIO900073400 | POE-EXTENDER AP-GXC-0100 | 1xGE PoE in + 1xGE PoE out extender | Available | 114
PoE | Hyper PoE EXTENDER | VIO900071400 | POE-EXTENDER AP-GXC-0150 | Outdoor 1-port GE PoE Extender; IP67, IK10 Supported PSEsproviding af/at/bt PoE -40°C~ 65°C | Available | 146
PoE | Hyper PoE EXTENDER | VIO900073300 | POE-EXTENDER AP-GXC-0200 E59-102 | 1xGE PoE in + 2xGE PoE out extender | Available | 134
PoE | Hyper PoE EXTENDER | VIO900071500 | POE-EXTENDER AP-GXC-0250 | Outdoor 2-port GE PoE Extender; IP67, IK10 Supported PSEsproviding af/at/bt PoE -40°C~ 65°C | Available | 176
PoE | EXTENDER | VIO900042000 | AP-FXC-0210,E19-102 | 2-port Indoor 95/60/30 W PoE Extender Supported PSEs providing 95W/60W/30W PoE 0°C ~ 50°C | EOS | 114
PoE | INJECTOR | VIO100129810 | POE_INJECTOR AP-GIC-010A-030 EU | Indoor IEEE802.3at Gigabit PoE Injector | EOS | 50
PoE | INJECTOR | VIO100000026 | POE-INJECTOR AP-GIC-011A-030 EU | Indoor IEEE802.3at Gigabit PoE Injector | Available | 38
PoE | INJECTOR | VIO100000032 | POE-INJECTOR AP-GIC-011B-090 EU | Gigabit 802.3bt 90W PoE Injector | Available | 130
PoE | INJECTOR | VIO100176110 | POE-INJECTOR AP-GIC-011A-095 EU | Indoor IEEE802.3at 95W Gigabit UPoE Injector | EOS | 182
PoE | INJECTOR | VIO900048602 | POE-INJECTOR AP-GIC-015B-095 | Outdoor 95W PoE Injector | EOS | 324
PoE | OUTDOOR-CABINET | VIO900034000 | CABINET AT-PSP-001 | PoE Surge Protector: 8-10KA AT-PSP-001 is a surge protection device to provide Signal/Power path and surge protection capability.It employed our patented surge blocker wit h shunt devices and parallel devices to guarantee the safety of your dev ice, ev | Available | 62
PoE | OUTDOOR-SURGER | VIO900042600 | POE-KIT AP-PSP-050 | Outdoor PoE Surge Protector 16KV surge Operating temperature from -40°C to 85 °C | Available | 112
Accessory | MOUNTING KIT | VIO900054800 | AR-100 |  | Available | 82
Accessory | MOUNTING KIT | VIO900054900 | AR-RACKMOUNT AR-101 | 1U Rackmount for 8 AP-FEX-0100-R | Available | 96
PoE | OUTDOOR-CABINET | VIO900054600 | CABINET AT-DRB-001 | Cabinet industrial 95W PoE switch AW-IHH-0800 bracket | Available | 22
PoE | OUTDOOR-CABINET | VIO100145100 | CABINET AT-CAB-001 | Cabinet IP66, IK10 outdoor-ready surveillance cabinet. Protects accessory device s such as power supply, media converter, Industrial PoE switch and power safety from tough weather and vandalism.Mounting bracket for wall, DIN- rail, cover is included. | Available | 248
PoE | OUTDOOR-CABINET | VIO900031900 | TELEMETRY AT-CAB-002 | Side-mount bracket for HLG series power supply Protects accessory devices such as 120W power supply. | Available | 78
PoE | OUTDOOR-CABINET | VIO100145000 | TELEMETRY AT-CAS-001 | Cabinet for Speed dome IP66, IK10 outdoor-ready surveillance cabinet. Protects accessory device s such as power supply,media converter, Industrial PoE switch and power safety from tough weather and vandalism.Mounting bracket for wall,DIN- rail, cover | Available | 268
PoE | OUTDOOR-CABINET | VIO900032000 | TELEMETRY AT-SUN-001 | Sunshield for AT-CAx series cabinet Metal sunshield for Vivotek Cabinet series. Reduces the temperature insi de the cabinet,caused by sun radiation. | Available | 66
PoE | OUTDOOR-CABINET | VIO900032100 | TELEMETRY AT-SUN-002 | Sunshield for AT-CAx + AT-CAB-002 cabinet Metal sunshield for BOTH Vivotek Cabinet and DC Power cabinet.Reduces t he temperature inside the cabinet, caused by sun radiation. | Available | 66
PoE | OUTDOOR-CABINET | VIO100145300 | CABINET AT-SWH-000 | Power Safety Kit (100~275VAC): 20-40KA Electrical safety kit for Vivotek Cabinet in countries where the mains p ower is 275V AC.Included products: Surge protector class 2, Fuse/main switch, terminal b locks and an intrusion door switch. | Available | 248
PoE | OUTDOOR-CABINET | VIO100145200 | CABINET AT-SWH-002 | Door open/close detection switch Intrusion door switch for Vivotek Cabinet, connection to I/O port. | Available | 26
PoE | OUTDOOR-CABINET | VIO900032800 | TELEMETRY AT-WPC-001 | Cable gland M16 CABLE GLAND 4~7mm AWG 6PCS | Available | 26
PoE | OUTDOOR-CABINET | VIO900032600 | TELEMETRY AT-WPC-002 | Cable gland M16 CABLE GLAND for Corrugated Tubing : 5/16 " 6PCS | Available | 26
Other | Other | VIO900066000 | ACCESSORY-IP-AUDIO AU-001 | Network Horn Speaker | Available | 520
Other | Other | VIO900066100 | ACCESSORY-IP-AUDIO AU-002 | Network Speaker Driver | Available | 320
PoE | UNMANAGED SWITCH | VIO100179410 | POE-SWITCH AW-FET-060C-065 EU | 4xFE POE +2FE UTP Switch, EU | EOS | 62
PoE | UNMANAGED SWITCH | VIO100250810 | POE-SWITCH AW-FGT-100D-120 EU | 8xFE PoE + 2xGE Combo Switch | Available | 142
PoE | UNMANAGED SWITCH | VIO100229610 | POE-SWITCH AW-FGT-180D-250 EU | 16xFE POE +2G COMBO Switch, EU | EOS | 350
PoE | UNMANAGED SWITCH | VIO100229510 | POE-SWITCH AW-FGT-260D-380 EU | 24xFE POE +2G COMBO Switch, EU | EOS | 412
PoE | UNMANAGED SWITCH | VIO100000071 | POE-SWITCH AW-GEL-065A-060 EU | 4xGE POE +2GE uplink, 30W per port, power budget 60W | Available | 92
PoE | UNMANAGED SWITCH | VIO100000078 | POE-SWITCH AW-GEL-105A-110 EU | 8xGE POE +1GE + 1SFP, max 90W per port, power budget 110W | Available | 182
PoE | UNMANAGED SWITCH | VIO100000084 | POE-SWITCH AW-GEL-205A-260 EU | 16xGE POE +2GE + 2SFP, max 90W per port, power budget 260W | Available | 402
PoE | UNMANAGED SWITCH | VIO100000090 | POE-SWITCH AW-GEL-285A-380 EU | 24xGE POE +2GE + 2SFP, max 90W per port, power budget 380W | Available | 464
PoE | UNMANAGED SWITCH | VIO900042903 | POE-SWITCH AW-GET-083A-120 | Outdoor Unmanaged 4xGE PoE + 2xGE UTP + 2xGE SFP Switch, Per PoE port max. 30W, power budget 120W, IP67, IK10 | Available | 692
PoE | MANAGED SWITCH | VIO100157010 | POE-SWITCH AW-GEV-267A-370 EU | 24-Port GbE RJ45(PoE) +2-Port GbE RJ45/SFP + 1-Port RJ45 Console VivoCam Layer 2 Plus Managed PoE Switch (PoE Power Budget Max. 370W) Integrate with Vivotek Camera for surveillance application | EOS, Last stock in NL | 856
PoE | MANAGED SWITCH | VIO100145610 | POE-SWITCH AW-GTS-287A EU | 24xGE SFP + 4xCombo GE + 4x 10G SFP+ L2 Plus Managed Switch | Available | 1608
PoE | INDUSTRIAL-SWITCH | VIO900071200 | POE-SWITCH AW-IHB-0100 | Industrial 90W bt PoE Injector, -40°C~75°C | Available | 206
PoE | INDUSTRIAL-SWITCH | VIO100128400 | POE-SWITCH AW-IHS-0202 | Industrial Media Convert SFP True Mini Industrial Media Converter, 10/100M RJ45 to 100M SFP, Designed for outdoor CAM enclosure, Din-Rail mount and Panel mount, 18-36VAC/12- 60VDC, -40°C to 75°C | Available | 134
PoE | INDUSTRIAL-SWITCH | VIO900036500 | POE-SWITCH AW-IHT-1000 | Industrial 8xGE PoE + 2xGE SFP Switch, Per PoE port up to 30W, Powerbudget 240W, 48~56VDC input, -40°C to 75°C | EOS, Last stock in NL | 320
PoE | INDUSTRIAL-SWITCH | VIO900050900 | POE-SWITCH AW-IHT-1271 | Industrial VivoCam L2+ Managed PoE Switch 8xGE PoE + 4xGE SFP Per PoEport Max. 30W, power budget 240W, 48~57VDC input, - 40°C to 75°C | Available | 794
Accessory | CAMATE CA80 | VIO900048900 | ILLUMINATOR CA80I8-1040 | IR illuminator with CVA, 10ﾟ~40ﾟ, 140~350m, 80w, remote control | EOS | 1010
Accessory | CAMATE CA80 | VIO900049000 | ILLUMINATOR CA80I8-2040 | IR illuminator with CVA, 20ﾟ~40ﾟ, 170~280m, 80w, remote control | Available | 1010
Accessory | IR ILLUMINATOR | VIO900052101 | REMOTE-CONTROL CF24I8-2040 | IR illuminator with CVA, 20ﾟ~40ﾟ, 10~25m, remote control, pulse mode,24w | Available | 1260
Accessory | IR ILLUMINATOR | VIO900055100 | CAMATE CM32I8-010 | IR illuminator fixed IR 10ﾟ,180m, 32w | Available | 352
Accessory | IR ILLUMINATOR | VIO900055200 | CAMATE CM32I8-035 | IR illuminator fixed IR 35ﾟ,60m, 32w | Available | 352
Accessory | IR ILLUMINATOR | VIO100151000 | ILLUMINATOR CM48I8-1040 | IR illuminator with CVA, 10ﾟ~40ﾟ, 100~250m, 48w | EOS | 722
Accessory | IR ILLUMINATOR | VIO100155000 | ILLUMINATOR CM48I8-180 | IR illuminator with CVA, 180ﾟ, 40m, 48w | Available | 824
Accessory | IR ILLUMINATOR | VIO100151100 | ILLUMINATOR CM48I8-2040 | IR illuminator with CVA, 20ﾟ~40ﾟ, 120 ~ 200m, 48w | Available | 660
Accessory | IR ILLUMINATOR | VIO100152900 | ILLUMINATOR CM48I8-4080 | IR illuminator with CVA, 40ﾟ~80ﾟ, 60~90m, 48w | EOS | 680
Accessory | IR ILLUMINATOR | VIO100153000 | ILLUMINATOR CM48I8-90120 | IR illuminator with CVA, 90ﾟ~120ﾟ, 450~55m, 850nm 48w | EOS | 680
Accessory | CAMATE BRACKET | VIO900049900 | ALIGNMENT-KIT CMA-A01 | Laser Alignment Kit for CaMate | Available | 26
Accessory | CAMATE BRACKET | VIO900049600 | BRACKET-KIT CMA-B01 | L bracket for 1 CaMate series IR illuminator | Available | 22
Accessory | CAMATE BRACKET | VIO900049200 | BRACKET-KIT CMA-B03 | U type bracket for 1 CaMate series IR illuminator | Available | 58
Accessory | CAMATE BRACKET | VIO900049300 | BRACKET-KIT CMA-B04 | Wall-Mount Kit for 2 camate with pan | Available | 72
Accessory | CAMATE BRACKET | VIO900049400 | BRACKET-KIT CMA-B05 | Wall-Mount Kit for 2 camate with pan and tilt | Available | 150
Accessory | CAMATE BRACKET | VIO900049500 | BRACKET-KIT CMA-B06 | Wall-Mount Kit for 3 camate with pan and tilt | Available | 100
Accessory | CAMATE BRACKET | VIO900049800 | REMOTE-CONTROL CMA-E01 | remote control for CaMate | Available | 52
Other | Other | VIO900071300 | POWER-SUPPLY DRL-48V120W1EN | 90~264VAC In, 48VDC/120W Out , - 30 ℃ ~ 70 ℃ | Available | 54
Other | Other | VIO900070600 | POWER-SUPPLY DRL-48V240W1EN | 90~264VAC In, 48VDC/240W Out , - 30 ℃ ~ 70 ℃ | Available | 100
Accessory | Other | VIO900054700 | ETHERNET-IO-SWITCH E1214 | MOXA I/O Switch | Available | 486
PoE | POWER SUPPLY | VIO900033800 | INDUSTRIAL-POWER HLG-120H-24 | 90~305VAC In ,24VDC/120Wut ,IP67, - 40 ℃ ~ 70 ℃ | Available | 100
PoE | POWER SUPPLY | VIO900033400 | INDUSTRIAL-POWER HLG-120H-48 | 90~305VAC In ,48VDC/120W Out ,IP67, - 40 ℃ ~ 70 ℃ | Available | 100
PoE | POWER SUPPLY | VIO900030400 | POWER-ADAPTER HLG-120H-54 | 90~305VAC In ,54VDC/120W Out ,IP67, - 40 ℃ ~ 70 ℃ | Available | 100
PoE | POWER SUPPLY | VIO900030500 | POWER-ADAPTER HLG-240H-54 | 90~305VAC In ,54VDC/240W Out ,IP67, - 40 ℃ ~ 70 ℃ | Available | 136
PoE | POWER SUPPLY | VIO900040100 | POWER-ADAPTER HLG-60H-24 | 90~305VAC In ,24VDC/60Wut ,IP67, - 40 ℃ ~ 70 ℃ | Available | 62
PoE | POWER SUPPLY | VIO900033700 | INDUSTRIAL-POWER HLG-80H-24 | 90~305VAC In ,24VDC/80W Out ,IP67, - 40 ℃ ~ 70 ℃ | Available | 80
PoE | POWER SUPPLY | VIO900033900 | INDUSTRIAL-POWER HLG-80H-48 | 90~305VAC In ,48VDC/80W Out ,IP67, - 40 ℃ ~ 70 ℃ | Available | 80
PoE | POWER SUPPLY | VIO900030700 | POWER-ADAPTER HLG-80H-54 | 90~305VAC In ,54VDC/80W Out ,IP67, - 40 ℃ ~ 70 ℃ | Available | 80
Other | Other | VIO900068700 | IPC IE9232-F | VAST Face Server | Available | 4470
Other | Other | VIO900070500 | FR-MANAGER IE9281-FM | Facial Recognition CMS | Available | 3875
Other | Other | VIO100271000 | FACIAL-RECOGNITION-TABLET FT9361-R | A facial Recognition Access control Tablet.It need to work with VAST Face Maneger(Server of FT9361-R). | Available | 800
Accessory | Other | VIO631442000 | IO CABLE MA8391-ETV | IO CABLE,MA8391-ETV | Available | 16
Accessory | Other | VIO631442000 | IO CABLE MA8391-ETV | IO CABLE,MA8391-ETV | Available | 16
Accessory | Other | VIO631444900 | CABLE SIGNAL M12A CONN L200 BLK | IO CABLE for SC9133-RTL | By registration | 24
Accessory | Other | VIO631443000 | IO CABLE SD9384-EHL | AO-008 Combo cable for SD9368/SD9384 Speed dome | Available | 22
Accessory | Other | VIO650004900 | IO CABLE SD9366 | AO-007 Combo cable for SD9363/64/66 Speed dome | EOS | 22
Accessory | Other | 3675745700 | CABLE SIGNAL AO-003 | AO-003 Combo cable for SD9362 | EOS | 20
Accessory | Other | 3080996000 | CABLE SIGNAL AO-009 | AO-009 Combo cable for SD9161-H-v2 Speed dome | Available | 12
Accessory | Other | VIO100000024 | IO CABLE AO-010 FOR 87-V3 BULLET | IO Cable AO-010 for 87-v3 Bullet | Available | 42
Accessory | Other | VIO100000023 | IO CABLE AO-011 FOR 87-V3 FIXED DOME | IO Cable AO-011 for 87-v3 Fixed Dome | Available | 42
Accessory | Wireless module & antenna | VIO220026200 | LTE MOD,SIM7600E-H | LTE module, Mobile NVR, for EMEA/Korea/Thailand | EOS | 152
PoE | POWER SUPPLY | VIO900030800 | SMPS 85~264VAC 10W MDR-10-12 | 85~264VAC In, 12VDC/10W Out , - 20 ℃ ~ 70 ℃ | Available | 34
Accessory | SD CARD | VIO900060900 | MICRO-SD-CARD MTSD1T0AKC7MS-1WT | Micron micro SD card 1TB | EOS | 352
Accessory | SD CARD | VIO900062700 | MICRO-SD-CARD MTSD256AKC7MS-1WT | Micron micro SD card 256GB | EOS | 70
Accessory | SD CARD | VIO900060800 | MICRO-SD-CARD MTSD512AKC7MS-1WT | Micron micro SD card 512GB | EOS | 152
Accessory | SD CARD | VIO900072100 | MICRO-SD-CARD MTSD032AQC6MS-1WT | Micron micro SD card i200 32GB | Available | 16
Accessory | SD CARD | VIO900072200 | MICRO-SD-CARD MTSD064AMC8MS-1WT | Micron micro SD card i400 64GB | Available | 24
Accessory | SD CARD | VIO900072300 | MICRO-SD-CARD MTSD128ANC8MS-1WT | Micron micro SD card i400 128GB | Available | 40
Accessory | SD CARD | VIO900072400 | MICRO-SD-CARD MTSD256ANC8MS-1WT | Micron micro SD card i400 256GB | Available | 68
Accessory | SD CARD | VIO900072500 | MICRO-SD-CARD MTSD512ANC8MS-1WT | Micron micro SD card i400 512GB | Available | 152
Accessory | SD CARD | VIO900072600 | MICRO-SD-CARD MTSD1T0ANC8MS-1WT | Micron micro SD card i400 1TB | Available | 384
PoE | POWER SUPPLY | VIO900028400 | AC-DC CONVERTER 90~264VAC 120W | 90~264VAC In, 48VDC/120W Out , - 20 ℃ ~ 70 ℃ | By registration | 56
PoE | POWER SUPPLY | VIO900030900 | POWER-ADAPTER NDR-240-48 | 90~264VAC In, 48VDC/240W Out , - 20 ℃ ~ 70 ℃ | Available | 96
PoE | POWER SUPPLY | VIO900030600 | POWER-ADAPTER NDR-75-48 | 90~264VAC In, 48VDC/75W Out , - 20 ℃ ~ 70 ℃ | Available | 46
Accessory | Other | VIO631440900 | POWER CABLE,MD9561-H(W/O DC,SR) |  | Available | 34
Accessory | Other | VIO631439000 | POWER CABLE SC8132 | AO-004 - M12(D Code 4-Pin Male) to RJ45 Cab | Available | 12
PoE | OPTICAL TRANSCEIVER | VIO900037100 | SFP-TRANSCEIVER SFP-1000-CPTX-X1 | Gigabit SFP to RJ45 Module | Available | 78
PoE | OPTICAL TRANSCEIVER | VIO900037800 | SFP-TRANSCEIVER SFP-1000-CPTX-X1I | Industrial Gigabit SFP to RJ45 Module | Available | 114
PoE | OPTICAL TRANSCEIVER | VIO900026300 | SFP-TRANSCEIVER SFP-1000-MM13-02 | Gigabit Mini GBIC Multi Mode 1310nm 2KM, LC Connector | Available | 40
PoE | OPTICAL TRANSCEIVER | VIO900025900 | SFP-TRANSCEIVER SFP-1000-MM13-02I | Industrial Gigabit Mini GBIC Multi Mode 1312nm 2KM, LC Connector | Available | 52
PoE | OPTICAL TRANSCEIVER | VIO900026200 | SFP-TRANSCEIVER SFP-1000-MM85-X5 | Gigabit Mini GBIC Multi Mode 850nm 0.5KM, LC Connector | Available | 36
PoE | OPTICAL TRANSCEIVER | VIO900025800 | SFP-TRANSCEIVER SFP-1000-MM85-X5I | Industrial Gigabit Mini GBIC Multi Mode 850nm 0.5KM, LC Connector | Available | 44
PoE | OPTICAL TRANSCEIVER | VIO900026400 | SFP-TRANSCEIVER SFP-1000-SM13-10 | Gigabit Mini GBIC Single Mode 1310nm 10KM, LC Connector | Available | 40
PoE | OPTICAL TRANSCEIVER | VIO900026000 | SFP-TRANSCEIVER SFP-1000-SM13-10I | Industrial Gigabit Mini GBIC Single Mode 1312nm 10KM, LC Connector | Available | 52
PoE | OPTICAL TRANSCEIVER | VIO900026500 | SFP-TRANSCEIVER SFP-1000-SM13-40 | Gigabit Mini GBIC Single Mode 1310nm 40KM, LC Connector | Available | 60
PoE | OPTICAL TRANSCEIVER | VIO900026100 | SFP-TRANSCEIVER SFP-1000-SM13-40I | Industrial Gigabit Mini GBIC Single Mode 1312nm 40KM, LC Connector | Available | 64
PoE | OPTICAL TRANSCEIVER | VIO900033000 | SFP-TRANSCEIVER SFP-2000-MM85-X3 | 10 Gigabit Mini GBIC Multi Mode 850nm 0.3KM, LC Connector | Available | 78
PoE | OPTICAL TRANSCEIVER | VIO900032900 | SFP-TRANSCEIVER SFP-2000-SM13-10 | 10 Gigabit Mini GBIC Single Mode 1310nm 10KM, LC Connector | Available | 142
Accessory | HDD | VIO900067000 | HDD-WD-BRAND WD101PURP | WD purple pro 3.5" HDD ,10TB, SATA III, 7200 rpm, 0°C to 65°C | Available | 462
Accessory | HDD | VIO900067100 | HDD-WD-BRAND WD121PURP | WD purple pro 3.5" HDD ,12TB, SATA III, 7200 rpm, 0°C to 65°C | Available | 534
Accessory | HDD | VIO900067200 | HDD-WD-BRAND WD141PURP | WD purple pro 3.5" HDD ,14TB, SATA III, 7200 rpm, 0°C to 65°C | Available | 580
Accessory | HDD | VIO900066900 | HDD-WD-BRAND WD8001PURP | WD purple pro 3.5" HDD ,8TB, SATA III, 7200 rpm, 0°C to 65°C | Available | 368
Accessory | HDD | VIO900000018 | HDD-WD-BRAND PURPLE 1TB WD11PURZ | WD purple 3.5" HDD, 1TB, SATA III, 5400 rpm, 0°C to 65°C | Available | 88
Accessory | HDD | VIO900000020 | HDD-WD-BRAND PURPLE 2TB WD23PURZ | WD purple 3.5" HDD, 2TB, SATA III, 5400 rpm, 0°C to 65°C | Available | 112
Accessory | HDD | VIO900000021 | HDD-WD-BRAND PURPLE 3TB WD33PURZ | WD purple 3.5" HDD, 3TB, SATA III, 5400 rpm, 0°C to 65°C | Available | 136
Accessory | HDD | VIO900000022 | HDD-WD-BRAND PURPLE 4TB WD43PURZ | WD purple 3.5" HDD, 4TB, SATA III, 5400 rpm, 0°C to 65°C | Available | 164
Accessory | HDD | VIO900000023 | HDD-WD-BRAND PURPLE 6TB WD64PURZ | WD purple 3.5" HDD, 6TB, SATA III, 5400 rpm, 0°C to 65°C | Available | 266
Accessory | HDD | VIO900000019 | HDD-WD-BRAND PURPLE 8TB WD84PURZ | WD purple 3.5" HDD, 8TB, SATA III, 5400 rpm, 0°C to 65°C | Available | 342

## VSS & Software
Form Factor | P/N | Model | Description | Status | MSRP(Euro)
Sofware License | VIO718000400 | INT LIC,VSS STD | License for VSS Standard, to extend the included 8 complimentary licenses, when adding more cameras (VIVOTEK or ONVIF) | AVAILABLE | 50
Sofware License | VIO718000200 | INT LIC,VSS PRO | License for VSS Pro, to add licenses to VSS Pro installation when adding cameras (VIVOTEK or ONVIF) | AVAILABLE | 100
Sofware License | VIO718000500 | INT LIC,VSS EMBEDDED NVR | License for each camera connected to any NVR under VSS Pro | AVAILABLE | 30
Sofware License | VIO718000300 | INT LIC,VSS STD-TO-PRO UPGRADE | License to upgrade one VSS Standard license to one VSS Pro license | AVAILABLE | 50
VCA License | VIO719000700 | LIC,SMART VCA | License for Smart VCA, a Video Content Analysis package at the Edge. Supporting 8 Rules: Line Crossing Detection, Intrusion Detection, Loitering Detection, Face Detection, Missing Object Detection, Unattended Object Detection, Crowd Detection, Running Detection (Full Set) | AVAILABLE | 124
VCA License | VIO719000800 | LIC,SMART VCA-PEOPLE | License for Smart VCA-People, a Video Content Analysis package at the Edge. Supporting 6 Rules: Line Crossing Detection, Intrusion Detection, Loitering Detection, Face Detection, Crowd Detection, Running Detection (People related rules, subset of Smart VCA) | AVAILABLE | 94
VCA License | VIO719000900 | LIC,SMART VCA-OBJECT | License for Smart VCA-Object, a Video Content Analysis package at the Edge. Supporting 2 Rules: Missing Object Detection, Unattended Object Detection (Object related rules, subset of Smart VCA) | AVAILABLE | 94
VCA License | VIO719000100 | LIC,CYBER SECURITY 1 YEAR | Cyber Security Management 1 Year License extension | AVAILABLE | 20
VCA License | VIO719000200 | LIC,CYBER SECURITY 2 YEAR | Cyber Security Management 2 Year License extension | AVAILABLE | 30
VCA License | VIO719000300 | LIC,CYBER SECURITY 3 YEAR | Cyber Security Management 3 Year License extension | AVAILABLE | 34
VCA License | VIO719000400 | LIC,CYBER SECURITY LIFE TIME | Cyber Security Management Life time License extension | AVAILABLE | 38
VCA License | VIO715004000 | LICENSE FACEME SECURITY CYBERLINK | Per-channel License for Cyberlink FaceMe Security | AVAILABLE | 1200
VCA License | VIO715004100 | LICENSE VAST FACE SW ADVANTECH | Per-channel License for VAST Face FR Engine | AVAILABLE | 900
VCA License | VIO713000011 | LICENSE VAST FACE MANAGER SW | Channel license for VAST Face Manager | AVAILABLE | 300
VCA License | VIO719001300 | LIC,RESTRICTED ZONE DETECTION | License for Restricted Zone Detection (for selected cameras) | AVAILABLE | 124
VCA License | VIO719001400 | LIC,PARKING VIOLATION DETECTION | License for Parking Violation Detection (for selected cameas) | AVAILABLE | 124
VCA License | VIO719000011 | LIC,SMART-VCA RUNNING | License for Smart VCA Running | AVAILABLE | 60
VCA License | VIO719000003 | STAFF EXCLUSION | SC9133-RTL Staff Exclusion License | AVAILABLE | 66